Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: SW/JS

	Application No: 
	3/2004/0700/P

	Development Proposed:
	CONSTRUCTION OF LEACHATE TREATMENT PLANT WITHIN EXISTING LANDFILL SITE AT LANCASHIRE WASTE SERVICES LIMITED, HENTHORN ROAD, CLITHEROE 

	CONSULTATIONS: Parish/Town Council

	N/A



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	N/A



	CONSULTATIONS: Nearby Residents

	N/A



	COMMENTS/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This is an application submitted to us by Lancashire County Council for observations only.  The scheme proposed two circular tanks with a diameter of 15m adjacent to an existing gas flare compound at the waste services site.  The tanks will be partially sunk into the ground with side walls protruding approximately 1m above ground level.  They will be covered with low level prefabricated roofs. 

In terms of the visual impact of the works, there is a planted area to the south of the road leading to the sewage works and it is within this area that the tanks will be sited.  Some of its tree belt will need to be cleared but a 10m deep strip will be retained alongside the road which will assist in screening the works.  The Council’s Environmental Health Officer has visited the site and, whilst expressing no objection in principle to the application raised the issue that existing noise attenuation may be compromised.  He has been in direct contact with SITA who have provided sufficient detail to satisfy these concerns.  Therefore, it is suggested that whilst raising no objection to the principle of the development it is considered that the County Council be recommended to restrict hours for maintenance of the tratment plant in order to minimise impact on neighbouring amenity.



	

	RECOMMENDATION: That no objection in principle be raised but that a recommendations is made about the need to restrict hours for maintenance of the plant.


DATE INSPECTED:  1 SEPT 04














