Ribble Valley Borough Council

DATE INSPECTED: 15 December 2005

DELEGATED ITEM FILE REPORT - APPROVAL

| Ref: MO/EL |  |
| --- | --- |
| Application No: | 3/2005/1032/P |
| Development Proposed: | ERECTION OF OPEN PLAN STORE AT E & D PLANT HIRE, PENDLE TRADING ESTATE, CHATBURN |
| # CONSULTATIONS: Parish/Town Council |  |
| Parish Council - No objections. |  |
| # CONSULTATIONS: Highway/Water Authority/Other Bodies |  |
| Environment Directorate (County Surveyor) – N/A |  |
| ## CONSULTATIONS: Nearby Residents/Businesses |  |
| No representations have been received. |  |
| RELEVANT POLICIES: |  |
| Policy G1 - Development Control. |  |
| COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION: |  |
| Planning permission is sought for the erection of an open sided store attached to the rear of the existing building, which is situated on the Pendle Trading Estate, Chatburn. The floor area proposed is 18.7m x 8.5m. The height to the pitch is 4.6m. A mono-pitched roof consisting of corrugated metal sheeting will slope down to form a valley gutter with the existing building. Surrounding land uses are predominantly industrial and the siting of the proposed building is a sufficient distance away from neighbouring units. The proposal seeks to increase storage capacity for plant hire and building materials and it is anticipated that no extra vehicles will visit the site as a result of the new building. The proposal would therefore have little impact on highway safety or residential amenity and in terms of visual impact, the building’s design is considered appropriate given it surroundings. |  |
| SUMMARY OF REASONS FOR APPROVAL: |  |
| The proposal has no significant detrimental impact on nearby residential amenity, nor would it have an adverse visual impact or be to the detriment of highway safety. |  |
| RECOMMENDATION: That conditional planning permission be granted. |  |