Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: JM/JS

	Application No: 
	3/2009/0020/P

	Development Proposed:
	Discharge of materials condition relating to walling and roofing at St Mary’s RC School, Longsight Road, Osbaldeston

	CONSULTATIONS: Parish/Town Council

	N/A



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	N/A



	CONSULTATIONS: Additional Representations.

	N/A



	RELEVANT POLICIES:

	

	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This proposal seeks to discharge the walling and roofing materials of St Mary’s RC School, Longsight Road, Osbaldeston.  Permission was granted for an extension under application 3/2008/0647 for a staff room at the rear of the building.  There are previous extensions to the existing building and the original school itself is a Grade II listed building.  Materials to be used are Waddington stone, Highmoor Buff and blue slate.  I consider the materials relate sufficiently to both the existing building and more importantly the previous extension.  



	SUMMARY OF REASONS FOR APPROVAL:

	N/A

	RECOMMENDATION: That condition 2 be discharged in relation to walling and roofing materials.  


DATE INSPECTED: 20 JAN 09














