Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: JM/EL

	Application No: 
	3/2009/0325/P

	Development Proposed:
	Discharge of conditions relating to landscaping, surface water drainage, ground condition, lighting and renewable energy in connection with application 3/2006/0583/P for development at Samlesbury Aerodrome, Myerscough Road, Balderstone

	

	CONSULTATIONS: Highway/Water Authority/Other Bodies

	Environment Agency – Based on the supporting documents have reviewed the reports with respect to risk to controlled waters and consider that there is no further work with respect to risk to control waters required and have no objection to discharge of condition 21.

	

	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This proposal relates to the development at British Aerospace approved under application 3/2006/0583 which involved comprehensive development at the site for manufacturing an engineering facility as well as office buildings.  Many of the details have been submitted previously in relation to landscaping, renewables, lighting and surface water drainage and have been partly discharged in relation to previous schemes.  This application seeks to discharge fully the various conditions.  I am satisfied that the plans submitted with this application are consistent with ones previously agreed and have been the subject of ongoing negotiation throughout the process of the development of the site.  The Environment Agency have been able to give technical advice on the GEO-environmental investigation and assessment for phase 1 development area as well as the phase 2 intrusive investigation assessment for plot 609 and also for the site investigation for the main entrance and they conclude that the submitted information is satisfactory and would have no hesitation in discharging condition 21 in relation to the relevant phases of the development.   



	RECOMMENDATION: That the relevant conditions be discharged.


DATE INSPECTED: 














