Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: GT

	Application No: 
	3/2010/0023/P

	Development Proposed:
	To install a river flow monitoring station (flood warning) to record the flow of Pimlico Brook. This will consist of a pressure transducer, telemetry kiosk and barrage boards at rear of Bridge Court, off Pimlico Road, Clitheroe, Lancashire.



	CONSULTATIONS: Parish/Town Council

	Town Council – No objections.



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	N/A



	CONSULTATIONS: Additional Representations

	N/A



	RELEVANT POLICIES:

	Policy G1 - Development Control.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	Permission is sought for the installation of a river flow monitoring station (flood warning) to record the flow of Pimlico Brook. The equipment will be located adjacent to the Lancashire County Council Offices at the rear of Bridge Court, off Pimlico Road.

The equipment will be contained within a large metal kiosk measuring 1m x 1m x 2m, made from GRP (Glass Reinforced Plastic) and will be painted dark green to blend in with the onsite greenery. The scheme also includes the installation of three whale boards on the east side of the Brook to allow for visual gauge measurements. Due to the location of the kiosk within the planting on site, and that the rest of the equipment will not be visible either, I have no objections to the proposed development and recommend accordingly.



	SUMMARY OF REASONS FOR APPROVAL:

	The proposal has no significant detrimental impact on nearby residential amenity nor would it have an adverse visual impact.


	RECOMMENDATION: That Planning Permission be approved.


DATE INSPECTED: 21/01/2010














