Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2010/0130/P

	Development Proposed:
	Application for the discharge of condition no. 2 (materials) of planning consent 3/2008/1039/P at Station Buildings, Berry Lane, Longridge, Lancashire, PR3 3JP.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no. 2 (materials) of planning consent 3/2008/1039/P at Station Buildings, Berry Lane, Longridge for revisions to a previously approved scheme to regenerate the Longridge Station Buildings.

With regards to condition 2 of the approved plans, the LCC Principal Planning Officer, Richard Kirkby, who has been leading this project on behalf of the Applicant, Longridge Town Council, has provided all details. He has confirmed the following materials to be used for the approved alterations and work involved in regenerating this building;

· Aluminium framing for glazing of extension to front elevation – powder coated colour RAL7039 quartz grey,

· Replacement timber sliding sash windows to match existing – photos provided,

· Rain water goods – Painted aluminium, RAL7039 quartz grey.

· Replacement timber doors to match existing – photos provided,

· Stone walling – photos of stone provided,

· Roof slates – sample of the ‘weathered version’ of a Redland Cambrian Slate roof tile provided, which is considered to be more acceptable than the sample previously submitted,

· Stone paving external – photograph provided of blocks proposed for the railway line paths feature to the front of the building,

· Woodwork – painted maroon and cream.

Having assessed all of the above details in relation to the siting of the building within the Longridge Conservation Area, and bearing in mind that the building has been identified as being of Townscape Merit within the Longridge Conservation Area Appraisal, I can confirm that the samples and details submitted are considered acceptable. Whilst it is agreed that natural slate would have been considered more acceptable for the proposed canopy roof, given the pitch of the canopy and the slate proposed, I am satisfied that the tile proposed will have an acceptable visual impact on the character of the building and its setting within the Conservation Area.

On the basis of this, I can formally discharge the details submitted in regards to condition 2.



	SUMMARY OF REASONS FOR APPROVAL:

	N/A



	RECOMMENDATION: That the relevant planning condition be discharged.


DATE INSPECTED: VARIOUS














