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	DEVELOPMENT PROPOSED:
	Application for the discharge of condition no. 1 (start date), condition no.2 (Natural England License), condition no.3 (landscaping), condition no.4 (foul and surface water scheme) and condition no. 8 (proposed entrance gates), of planning consent 3/2009/0854P

	AT:
	Townhead Slaidburn Lancashire 



	The following Condition(s) have been discharged from the above planning application.



	
	1

	
	3

	Notes
	

	1

2

3
	Condition 2 – the discharge of this condition cannot be considered until the Borough Council has received a copy of the Natural England License.

Condition 4 – in a letter copied to you 3 August 2010 the Environment Agency do not recommend the discharge of Condition 4 and state:

“Drawing number 347/01(52) 010 A, ‘foul & surface water drainage layout’, dated July 2009 appears to show that the swimming pool backwash would be discharged directly in to watercourse. Our consent would not be issued for direct discharge of treated swimming pool backwash water to watercourse.

National guidance suggests that there are three options for the disposal of swimming pool drain down/back wash water:

1, The water must be suitably de-chlorinated and then discharged at an appropriate rate through a sewage treatment plant; or

2, The water must be suitably de-chlorinated and used to irrigate a suitable piece of land; or 

3, The water must be stored and tinkered away for suitable disposal off site”.

Condition 9 (proposed entrance gates) – the proposals are acceptable in terms of visual amenity and the character and setting of the listed building. Condition discharge will be considered on receipt of Lancashire County Council (Highway’s) comments in respect to highway safety.
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