Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: JM/CMS

	Application No: 
	3/2010/0911/P

	Development Proposed:
	Discharge of conditions relating to materials, boundary treatment to watercourse, surface water regulation, disposal of foul and surface water and new entrance gateway to public open space and contaminated land conditions at Barrow Brook, Barrow

	CONSULTATIONS: Parish/Town Council

	Parish Council - No objections to this proposal. No comments or observations received.



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	Environment Directorate (County Surveyor) - No objections. No observations received.

Environment Agency – Able to confirm discharge in relation to the contaminated land survey and in particular 5.1, 5.2 and 5.3 of the relevant condition offer no objection to the details incorporating the fencing by the watercourse.

Internal Consultees – In relation to conditions relating to surface water and subject to confirmation that United Utilities are satisfied in the formal Section 104 Agreement there are no objections tot his proposal.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application is a proposal for discharge of conditions in relation to the approved housing scheme at Barrow Brook. 

Condition 3- Materials. The proposed materials comprises of a range of brick, render and stone with concrete tiles and blue slate roof also to be incorporated.  Render is used to break up the mass of one of the apartment blocks and also on part of the front and rear elevation of three dwellings located centrally within the site.  The main terraced elevation facing Whalley Road is to be constructed of artificial stone and a blue slate roof.  Elsewhere throughout the site there is a predominance of red brick with some buff bricks located centrally within the site.  The removed materials are concrete grey tiles. I have no objection to the use of these materials given the mixture of materials in the locality.

Condition 4- Fencing / Walling adjacent to the watercourse.  The Environment Agency is satisfied with the proposal.  The fencing / barrier includes a safety barrier on the internal estate road where it crosses the brook and a 1.1m high railing by the majority of the embankment which have frontages to the dwellings.  I consider this to be acceptable.

Condition 5- Contaminated land issues. Following receipt of additional information submitted on the 17 December 2010, the Environment Agency is satisfied there is enough details to discharge part of the condition and in particular relates to 5.1, 5.2 and 5.3.  It is evident that there still requires verification measures to be submitted at a later date but this is not part of the formal discharge of condition application.

Condition 6 and 7_ Surface water regulation issues.  These issues are ongoing and although an application has been submitted to the United Utilities for a Section 104 Agreement no formal consent has been issued.  They are in line with a technical response but as yet there is no formal confirmation of its acceptability.

Condition 10_ Gateway details. This relates to gateway details to allow access to the adjoining public open space.  These include a timber field gate and a mobility kissing gate.  I consider this to be acceptable and it reflects the rurality of the area.

 

	

	

	RECOMMENDATION: That the conditions be partially discharged.


DATE INSPECTED: 














