Ribble Valley Borough Council

DATE INSPECTED: 10/02/2011

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

| Ref: GT |  |
| --- | --- |
| Application No: | 3/2011/0066/P |
| Development Proposed: | Application to discharge of condition no. 4 (walling and roofing materials), condition no. 6 (velux roof lights), condition no.11 (hard landscaping), condition no. 14 (bat roosting facilities) and condition no. 15 (details of ground source heat pump) of planning consent 3/2010/0540/P at Dusty Clough Barn, Green Lane, Chipping. |
| COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION: |  |
| This application seeks approval of details reserved by condition no. 4 (walling and roofing materials), condition no. 6 (velux roof lights), condition no.11 (hard landscaping), condition no. 14 (bat roosting facilities) and condition no. 15 (details of ground source heat pump) of planning consent 3/2010/0540/P at Dusty Clough Barn, Green Lane, Chipping, for the conversion of a redundant barn into holiday accommodation. With regards to condition 4 of the approved plans, the Agent has provided samples of the slate and random natural stone to be used for any remedial works on the barn and for the construction of the new outbuilding and external walls around the site. I am satisfied with these materials and can formally discharge this condition. With regards to condition 6 of the approved plans, the Agent has provided details of the proposed conservation type roof lights to be used within the conversion. I am satisfied with the information provided and can formally discharge this condition. With regards to condition 11 of the approved plans, the Agent has provided details in regards to the proposed hard landscaping of the site, namely the use of ‘grasscrete’ in connection with the landscaping plan drawing 4021-04B. He has also noted that bark chippings have been laid to join the site with the exiting path that runs down into the adjacent woodland. I am satisfied with this proposed use of materials and can formally discharge this condition. With regards to condition 14 of the approved plans, the Agent has provided details of the proposed ‘bat roosting facilities’ proposed for use within the development, and they have chosen to use six ‘Bat Tubes’ within the two gables of the building (indicated on a submitted plan). I am satisfied with this proposed mitigation measure and can formally discharge this condition. Finally, with regards to condition 15, the Agent has supplied details of the Ground Source Heat Pump they intend to use (to be sited within the red edge indicated on the approved location plan). Having discussed its location with the Council’s Countryside Officer, it is considered that in order to safeguard the RPA of any adjacent trees, there shall be no excavation or ground works within 10m of any nearby tree trunk. On this basis, I am happy to discharge this condition. On the basis of this, I am satisfied with the information and details provided with this application and can formally discharge the details submitted in regards to Condition’s 4, 6, 11, 14 and 15. |  |
| SUMMARY OF REASONS FOR APPROVAL: |  |
| N/A |  |
| RECOMMENDATION: That the relevant planning conditions be discharged. |  |