Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: JM/CMS

	Application No: 
	3/2001/0125/P

	Development Proposed:
	Discharge of condition in relation to materials on application 3/2008/0548 at Stanley House, Preston New Road, Mellor

	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application is to discharge the materials condition in relation to the proposed new courtyard at Stanley House, Preston New Road, Mellor.  Stanley House is a listed Grade II* listed building constructed of natural stone and blue slate roof.  The new wing is divorced from the main building and it is important to ensure that appropriate materials are used.  In this instance it includes a blue slate roofing material, stone walling material as well as a mixture of reconditioned red brick.  There would also be Cedar weatherboard and details  of the aluminium frames and curtain walling. The doors are to be of solid timber.  There is copper clad flat roofs which are on the dormer windows and the rainwater goods are to be copper half round gutters and copper rainwater pipes.  I am satisfied with these materials and consider they reflect adequately the relationship with the main building, it will also use different materials to complement the immediate environment.



	

	RECOMMENDATION: That the condition be partly discharged.


DATE INSPECTED: 














