Ribble Valley Borough Council

DATE INSPECTED: 04/05/2011

DELEGATED ITEM FILE REPORT – APPROVAL

| Ref: RH |  |
| --- | --- |
| Application No: | 3/2011/0236 |
| Development Proposed: | Application for a Certificate of Lawfulness for the proposed installation of Solar Panels to the roof of the dwelling and detached garage at 14 Crow Trees Brow, Chatburn. |
| # CONSULTATIONS: Parish/Town Council - N/A |  |
| # CONSULTATIONS: Highway/Water Authority/Other Bodies – N/A |  |
| ## CONSULTATIONS: Nearby Residents – N/A |  |
| RELEVANT POLICIES: - N/A |  |
| COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION: |  |
| This is a Certificate of Lawfulness for the proposed installation of solar panels to the roofslope of the main property and the detached garage at 14 Crow Trees Brow, Chatburn. Under the provisions of Schedule 2, Part 40, Class A of the Town and Country Planning (General Permitted Development) (Amendment) (No. 2) (England) Order 2008 the criterion below must be met. I will consider each part in turn. Part 40 Installation of Domestic Microgeneration Equipment Class A Permitted development - The installation, alteration or replacement of solar PV or solar thermal equipment on – - a dwellinghouse; or - a building situated within the curtilage of a dwellinghouse. Development not permitted A.1 Development is not permitted by Class A, in the case of solar PV or solar thermal equipment installed on an existing wall or roof of a dwellinghouse or a building within its curtilage if – - the solar PV or solar thermal equipment would protrude more than 200 millimetres beyond the plane of the wall or the roof slope when measured from the perpendicular with the external surface of the wall or roof slope; The panels will not project more than 200 millimetres beyond the plane of the rooflsope - it would result in the highest part of the solar PV or solar thermal equipment being higher than the highest part of the roof (excluding any chimney); The panels will not project higher than the highest part of the roof - in the case of land within a conservation area or which is a World Heritage Site, the solar PV or solar thermal equipment would be installed – - on a wall or roof slope forming the principal or side elevation of the dwellinghouse and would be visible from a highway; or (ii) on a wall or roof slope of a building within the curtilage of the dwellinghouse and would be visible from a highway; or The property is not within Chatburn Conservation Area. - the solar PV or solar thermal equipment would be installed on a building within the curtilage of the dwellinghouse if the dwellinghouse is a listed building. The property is not a Listed Building. Conditions A.2 Development is permitted by Class A subject to the following conditions – - solar PV or solar thermal equipment installed on a building shall, so far as practicable, be sited so as to minimise its effect on the external appearance of the building; The solar panels are to be attached to the southern roofslope of the main property and garage, thus ensuring that they do not face directly onto the main road. As such, it is considered that the proposed siting of the panels will ensure minimum visual impact upon the external appearance of the property. - solar PV or solar thermal equipment shall, so far as practicable, be sited so as to minimise its effect on the amenity of the area; and The solar panels to the main property will face directly towards the gable elevation of the adjacent property which has no windows inserted and the garage is sited well back from the main road thus ensuring that any impact of the panels upon neighbouring residential amenity will be minimal. - solar PV or solar thermal equipment no longer needed for microgeneration shall be removed as soon as reasonably practicable. The methods used to install the panels will ensure that they are easily removable once they are no longer needed. For the reasons stated above, the application can be classed as permitted development and does not require formal planning permission as stated in the General Permitted Development Order 2008. |  |
| SUMMARY OF REASONS FOR APPROVAL: |  |
| The proposed works constitute permitted development under the Schedule to Part 40, Class A of the Town and Country Planning (General Permitted Development) (Amendment) (England) Order 2008. |  |
| RECOMMENDATION: That a Certificate of Lawfulness for a proposed development is granted. |  |