Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2012/0071/P

	Development Proposed:
	Application for the discharge of condition no. 6 (Bat survey), 7 (tree protection plan and method statement), 8 (surface water), 9 (site contamination), 10 (surface water restriction) and 11(foul/surface water disposal) of planning consent 3/2010/0001P relating to Cobden Mill, Whalley Road, Sabden, Clitheroe, BB7 9DZ.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no. 6 (Bat survey), 7 (tree protection plan and method statement), 8 (surface water), 9 (site contamination), 10 (surface water restriction) and 11(foul/surface water disposal) of planning consent 3/2010/0001P relating to an approved residential development at Cobden Mill, Whalley Road, Sabden.

In relation to condition no. 6, the demolition of the building on site was done so before the 1st of May, and as such there was no requirement for an additional dawn survey.

In relation to condition no. 7, a Tree Protection Monitoring Schedule was completed and handed into the department and the tree fencing was assessed on site prior to works commencing.

In relation to condition no. 8, details of the Surface Water Drainage scheme (Surface Water Regulation) were submitted to the Environment Agency and United Utilities and they agreed that these were satisfactory.

In relation to condition no. 9, the details initially submitted relating to Site Contamination were considered incomplete, and as such the Environment Agency requested that further works/surveys be carried out prior to the formal discharge of this condition being allowed.  These further details/surveys were received in August 2012, and the Environment Agency confirmed that Condition no. 9 could be discharged on the 5th of November 2012.

In relation to condition no. 10, details of the Surface Water Drainage scheme (run-off) were submitted to the Environment Agency and they agreed that these were satisfactory.

In relation to condition no. 11, details of the Foul and Surface Water Drainage scheme were submitted to the Environment Agency and United Utilities and they agreed that these were satisfactory.

I am therefore satisfied that I can formally recommend the discharge of details submitted in regards to condition’s 6, 7, 8, 9, 10 and 11.


	SUMMARY OF REASONS FOR APPROVAL:

	N/A



	RECOMMENDATION: That the relevant planning conditions be discharged.


DATE INSPECTED: Various 2012














