Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: SW/EL

	Application No: 
	3/2012/0124/P

	Development Proposed:
	Application for the discharge of condition 4 (surface water regulation) and condition 5 (surface water drainage) of lp consent 3/2011/0662/P at Fort Vale Engineering Ltd, Caldervale Park, Simonstone Lane, Simonstone

	CONSULTATIONS: Parish/Town Council

	N/A



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	Environment Agency - No objections.



	CONSULTATIONS: Additional Representations.

	N/A



	RELEVANT POLICIES:

	Policy G1 - Development Control.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	Consent is sought for the discharge of conditions 4 and 5 attached to planning consent 3/2011/0662/P which detail the erection of a research and development building.  The conditions sought for discharge require submission of a scheme for the provision and implementation of a surface water regulation system and a system for the provision of surface water drainage works.  They were imposed on the original consent at the request of the Environment Agency.  

The applicant has submitted a proposed drainage layout (reference 210-298-RB04-T1) (I note the plan reference number has REVT1 in the title block but has details for both REVT1 and T2 in the legend above) and drainage calculations (micro drainage).  The Environment Agency has reviewed the submitted information and commented that considering the applicant is reducing the run-off rate from site, through the use of over sized pipes, they are satisfied with the proposed surface water drainage scheme and thus have no objection to the discharge of conditions 4 and 5.  I thus recommend accordingly.



	RECOMMENDATION: That conditions 4 and 5 be discharged insofar as they relate to the submitted details but there remains the requirement to complete the scheme in accordance with the details so approved.


DATE INSPECTED: 














