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	DEVELOPMENT PROPOSED:
	Proposed installation of flue equipment on an existing Fish and Chip shop.

	AT:
	59 Woone Lane Clitheroe Lancashire BB7 1BG

	Ribble Valley Borough Council hereby give notice that permission has been granted for the carrying out of the above development in accordance with the application plans and documents submitted subject to the following condition(s):



	1. 
	The development must be begun not later than the expiration of three years beginning with the date of this permission.

Reason:  Required to be imposed pursuant to Section 91 of the Town and Country Planning Act 1990



	2. 
	This permission shall relate to the proposal as shown on drawing no 12-2604-08.  Specifically, the flue shall terminate at a point 1m above the top of the chimney on the rear elevation of the building (ie the lower of the two chimneys on the property).

REASON: For the avoidance of doubt and to ensure compliance with the submitted plan; and to ensure the suitable dispersion of the exhaust gases in the interests of the amenities of nearby residents and to comply with Policy G1 of the Ribble Valley Districtwide Local Plan.



	3. 
	Prior to the commencement of development, precise details of the fixings to be used to secure the flue to the rear elevation of the building shall be submitted to and agreed in writing by the Local Planning Authority.

REASON: In order to ensure that noise and vibration are not transmitted through the building to neighbouring properties in the interests of the amenities of nearby residents and to comply with Policy G1 of the Ribble Valley Districtwide Local Plan.

P.T.O.

	4. 
	Prior to the commencement of works, a scheme for the maintenance of the extraction and odour control system shall be submitted to and approved in writing by the Local Planning Authority.  Thereafter, the extraction and odour control system shall be maintained in accordance with the approved scheme.  Once operational, a three-yearly report shall be submitted to the Local Planning Authority to confirm that the system has been maintained as agreed.  Any changes to the maintenance scheme must be agreed in writing by the Local Planning Authority prior to their introduction.

REASON: In order to prevent odour emissions to the atmosphere in the interests of the amenities of nearby residents and to comply with Policy G1 of the Ribble Valley Districtwide Local Plan.




Relevant planning policy

	Policy G1 - Development Control


	Summary of reasons for approval

The proposal has no significant detrimental impact on nearby residential amenity nor would it have an adverse visual impact.



	


Note(s)

	1. 
	For rights of appeal in respect of any condition(s)/or reason(s) attached to the permission see the attached notes.



	2. 
	The applicant is advised that should there be any deviation from the approved plan the Local Planning Authority must be informed.  It is therefore vital that any future Building Regulation application must comply with the approved planning application.


JOHN HEAP

DIRECTOR OF COMMUNITY SERVICES
2

