Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2012/0429/P

	Development Proposed:
	Application to discharge condition no. 4 (paint samples), condition no. 6 (external window frames, glazing and doors) and condition no. 8 (method statements) of planning permission 3/2012/0032/P relating to 5 Church Street, Clitheroe, Lancashire, BB7 2DD.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no. 4 (paint samples), condition no. 6 (external window frames, glazing and doors) and condition no. 8 (method statements) of planning permission 3/2012/0032/P relating to an approved change of use from A1/B1 to A2/B1 including various other works at 5 Church Street, Clitheroe.

In relation to condition no. 4, the agent has supplied a variety of examples of the paint finishes to be used from the Farrow & Ball range, namely “Down Pipe 26” and “Blackened 2011”, and having considered them in relation to the surrounding buildings I have no objection to them.

In relation to condition no. 6, the agent has noted the style and type of the proposed new external windows, and materials have been discussed on site.  The window design is as per that indicated on the approved plans and painted in the above colour “Blackened 2011”, and as the windows have all been inserted and the work completed in accordance with the approved plans, there is no reason not to discharge this condition.

Finally in relation to the details submitted in respect of condition no.8, whilst to some extent the details are considered minimal, ongoing discussions have been held whilst work has been ongoing.  As work has now been completed, again there is no reason not to discharge this condition.
I am therefore satisfied that I can formally recommend the discharge of details submitted in regards to condition’s 4, 6 and 8.


	SUMMARY OF REASONS FOR APPROVAL:

	N/A



	RECOMMENDATION: That the relevant planning conditions be discharged.


DATE INSPECTED: Various 2012














