Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2012/0548/P

	Development Proposed:
	Application for the discharge of condition no. 3 (air filtration/extraction system) of planning permission 3/2011/0744/P relating to the Shajan Restaurant, Longsight Road, Clayton-Le-Dale, Lancashire.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no. 3 (air filtration/extraction system) of planning permission 3/2011/0744/P relating to an approved extension to the kitchen of the Shajan Restaurant, Longsight Road, Clayton-Le-Dale.

The details submitted originally with this application were discussed with the Council’s Environmental Health Officer who did not considered them to be suitable and lacking in information.  Amended plans were received on the 17th of July 2012 and they were again discussed with the Council’s EHO who notes the following.

Having assessed the revised plans and having also read through the Guidance document 'Control of odour and noise from Commercial kitchen exhausts', I am still not happy with the height and distance of the flues but they should be sufficient.  The baffles will remove most (up to 80%) of the grease and are fairly simple and cheap to maintain.  Therefore the only real issue at the moment is odour control.  As you are aware Indian food can be fairly odorous and the guidance document does suggest odour control is required.  However the area is fairly open and the nearest property is some distance from the extraction units (40+m and may be under their ownership).  I am therefore tempted to give them the benefit of the doubt with a note to say that should we receive any substantiated complaints then they will have to retrofit some odour abatement.
On this basis, I am happy that this condition can be discharged.



	SUMMARY OF REASONS FOR APPROVAL:

	N/A



	RECOMMENDATION: That the relevant planning condition be discharged.


DATE INSPECTED: Various














