Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT - APPROVAL

	Ref: SW/CMS

	Application No: 
	3/2012/0851/P

	Development Proposed:
	Application to discharge condition 5 (surface water regulation) and condition 6 (surface water drainage) of planning permission 3/2010/0288/P at Stalwart Lodge, Primrose Road, Clitheroe

	CONSULTATIONS: Parish/Town Council

	Town Council – N/A.



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	Environment Directorate (County Surveyor) – N/A.

Environment Agency – Recommend discharge of the surface water condition and remove their objection due to the lack of information.

United Utilities – No objections to discharge condition.



	CONSULTATIONS: Additional Representations.

	No representations have been received.



	RELEVANT POLICIES:

	Policy G1 - Development Control.

Core Strategy Submission Draft

Policy DMG1 – General Considerations.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	Consent is sought for discharge of two conditions on a scheme that detailed the regeneration of the former Stalwart Reservoir Basin for 8 dwellings (3/2010/0288/P) as follows:

Condition 5 – surface water regulation system

The Environment Agency upon submission of the detailed drainage calculations from the applicant now recommend discharge of this condition.  United Utilities also have been consulted and have no objection to the discharge of condition.  Thus a partial discharge is in order and the second part of the condition requires the works to be completed in accordance with the approved plans.

Condition 6 – surface water drainage

There has been an ongoing dialogue with the Environment Agency regarding this condition as the development has been built utilising individual sewage treatment plants for each residence and this fall outside what they would have recommended were they approached to comment on a non-mains drainage option.  However the applicants have supplied us with sufficient information in order for the LPA decide if they have complied with circular 3/99.  United Utilities are satisfied with the details and on that basis it is considered that the condition can be partially discharged as the second part requires works to be completed in accordance with the approved plans.

Therefore having carefully considered all the above, it is considered that a partial discharge is in order on both of these conditions.



	SUMMARY OF REASONS FOR APPROVAL:

	N/A.



	RECOMMENDATION: That partial discharge of conditions be granted.


DATE INSPECTED: 














