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	DEVELOPMENT PROPOSED:
	Discharge of conditions 4, 5, 6, 7, 8, 9 and 10 of planning application 3/2012/0974

	AT:
	4 Castle Street  Clitheroe  BB7  2BX

	The following Condition(s) have been discharged from the above planning application.



	1
	Condition 4 – precise specifications of proposed shopfront form

	
	

	
	Informatives

The submission of further details concerning conditions 5, 6, 7, 8 and 10 is required before their discharge can be considered. 

The introduction of historic fabric from other sites (second hand floor boards; condition 5) is unacceptable. 

Please identify what is meant by a '1:4 mix' (condition 6, 7, 8) and the constituents of 'Gyproc multi finish'.

The works relating to condition 6 have already been undertaken and do  not appear to be in accordance with discussions held during application consideration. The mortar is hard (already cracked) and the smooth and recessed pointing is in sharp contrast to the remaining historic wall finish (see paragraph 147-153 of the HEPPG).

The works relating to condition 9 (proposed underdrawing of exposed historic floor joists) has been undertaken. It is understood that fire protection could be undertaken to the interior of the building and therefore the implemented works are unacceptable.

	
	

	
	

	JOHN HEAP

DIRECTOR OF COMMUNITY SERVICES
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