Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2013/0237/P

	Development Proposed:
	Application to discharge conditions 3 (materials), 5 (bat and bird boxes), 7 (tree protection measures), 11 (surface water regulation scheme), 12 (foul and surface water drainage scheme) and 16 (glazing details) of planning permission 3/2012/0850/P.  Land at Preston Road, Longridge, Lancashire, PR3 3BD.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by conditions 3 (materials), 5 (bat and bird boxes), 7 (tree protection measures), 11 (surface water regulation scheme), 12 (foul and surface water drainage scheme) and 16 (glazing details) of planning permission 3/2012/0850/P relating to the erection of two detached properties on land off Preston Road, Longridge.

Condition 3 – The applicant is proposing to use the following materials, samples of which have been assessed and agreed on site.

· Random rubble stone,

· Grey Forticrete Tile,

· Waddington Fell Quarry (Dressed) Stone,

· Dark Grey UPVC windows, and

· Composite door (dark grey).

Condition 5 – The bat and bird box details (as indicated on submitted plan drawing number GA1819-002 Rev. B) have been discussed and agreed with David Hewitt, Countryside Officer.

Condition 7 – The tree protection measures and fencing details (as indicated on the submitted Tree Constraints Plan, drawing number 3933-01A) has been discussed and agreed with David Hewitt, Countryside Officer.  The fencing has been agreed on site and will be monitored during the construction phases of the development.

Condition’s 11 and 12 – Details of the surface water drainage system and the surface and foul water details are shown on the submitted draining reference number GA1819-DP, and the applicant is choosing to use a Matrix Sewage System, CLF2/G/360-12pe Package Treatment Plant.  Having discussed this with colleagues in Building Control, I have no objections to the submitted details.

Condition 16 – The applicant will be using Pilkington Textured Glass from Range 3 or 4, which provides a higher level of obscurity.  Having viewed a sample of this, I have no objections to the submitted details.

On this basis, I am satisfied that the above conditions can be discharged.



	RECOMMENDATION: That the relevant planning conditions be discharged.


DATE INSPECTED: 11/04/2013














