Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2013/0288/P

	Development Proposed:
	Application to discharge condition no. 8 (Velux rooflights), condition no. 14 (surfacing of external areas and access track), condition no. 17 (bird and bat boxes), condition no. 18 (foul drainage) and condition no. 19 (archaeological recording) of planning permission 3/2013/0013/P.  Lower Cote Barn, Higher Greenhead Farm, Gisburn Road, Sawley, Lancashire.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no. 8 (Velux rooflights), condition no. 14 (surfacing of external areas and access track), condition no. 17 (bird and bat boxes), condition no. 18 (foul drainage) and condition no. 19 (archaeological recording) of planning permission 3/2013/0013/P, the proposed conversion of a barn to a live/work unit at Higher Greenhead Farm, Gisburn Road, Sawley.

Condition 8 – The applicant has provided details of the Velux windows he will be using, including details of the use of recessed flashings.  This will ensure that the windows are less visible from public view, and therefore preserve the character of the building were possible.  On this basis, I have no objection to the discharge of this condition.

Condition 14 – The applicant will be surfacing the parking/turning area with MOT type 1 (crushed concrete aggregate) that will be rolled and compacted.  The track is already compacted but any potholes will be made good.  On this basis, I have no objection to the discharge of this condition.

Condition 17 – With regards to this condition, the applicant notes that two swallow nest boxes will be fitted under the eaves of the eastern facing elevation of the building, and that provision will be made for the incorporation of ‘Bat access’ within the roof by use of ‘Bat Slates’.  On this basis, I have no objection to the discharge of this condition.

Condition 18 – The applicant will be installing a Klargester BioDisc Package Sewage Treatment Plant, and on this basis, I have no objection to the discharge of this condition.

Condition 19 – The applicant has submitted a completed Historic Building Record for Lower Cote Barn, and having discussed this with the County Archaeologist, he advises that the on-site recording and reporting of Lower Cote Barn has been completed in accordance with LCAS requirements, and that condition no. 19 can therefore be discharged.


	RECOMMENDATION: On the basis of the submitted details, it is recommended that the relevant planning conditions be discharged.


DATE INSPECTED: 18/04/2013








