Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITIONS

	Ref: GT

	Application No: 
	3/2013/0455/P

	Development Proposed:
	Application to discharge condition no’s 4 (Velux rooflights), condition no. 6 (access gates/visibility splay), condition no. 7 (access/driveway/parking), condition no. 8 (access surface materials), condition no. 9 (landscaping), condition no. 13 (solar panel specification) and condition no. 15 (Bat Survey) of planning permission 3/2013/0050/P.  Methodist Church, Chapel Lane, West Bradford, Lancashire.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks approval of details reserved by condition no’s 4 (Velux rooflights), condition no. 6 (access gates/visibility splay), condition no. 7 (access/driveway/parking), condition no. 8 (access surface materials), condition no. 9 (landscaping), condition no. 13 (solar panel specification) and condition no. 15 (Bat Survey) of planning permission 3/2013/0050/P for the proposed change of use of an existing chapel into a single dwelling home.

Condition 4 – The applicant has provided details of the Velux windows he will be using, including details of the use of recessed flashings.  This will ensure that the windows are less visible from public view, and therefore preserve the character of the building were possible.  On this basis, I have no objection to the discharge of this condition.

Condition 6 – The plan submitted indicates that the gates will be positioned a minimum of 5m back from the edge of the kerb, as required by this condition.  On this basis, I have no objection to the discharge of this condition.

Condition 7 – The plan submitted indicates the use of materials for the gate (timber) and the re-use of the walling and railings materials currently in situ.  On this basis, I have no objection to the discharge of this condition.

Condition 8 – The first 5m of the access drive will be tarmac, beyond there it will be chippings.  On this basis, I have no objection to the discharge of this condition.

Condition 9 – The applicant has submitted a very simple landscaping plan for the site, and I have no objections to the proposal.

Condition 13 – The applicant has provided details of the Solar PV panels to be used (Antaris M6-Series Solar Black), and details of how they will be fitted within the roof (see sheet supplied with Viridian Solar in corner).  They are fitted directly to the roof battens with flashings surrounding them that integrate with the roof slates.  On this basis, I have no objection to the discharge of this condition.

Condition 15 – The applicant has submitted a Bat Survey carried out on the 23rd of April 2013.  The survey highlights that there is no evidence of roosting bats within the building, and that the proposed works are unlikely to cause disturbance to bats.  On this basis, I have no objection to the discharge of this condition.



	RECOMMENDATION: On the basis of the submitted details, it is recommended that the relevant planning conditions be discharged.


DATE INSPECTED: 11/06/2013








