Ribble Valley Borough Council                                                                  

DELEGATED ITEM FILE REPORT – DISCHARGE OF CONDITION

	Ref: JM/CMS

	Application No: 
	3/2013/0526/P

	Development Proposed:
	Discharge of materials condition at Mellor Brook Community Centre, Whalley Road, Mellor

	CONSULTATIONS: Parish/Town Council

	Parish /Town Council - No objections to this proposal. No comments or observations received.



	CONSULTATIONS: Highway/Water Authority/Other Bodies

	Environment Directorate (County Surveyor) - No objections. No observations received.

Environment Agency - No objections subject to certain technical requirements.



	CONSULTATIONS: Additional Representations.

	No representations have been received.



	RELEVANT POLICIES:

	Ribble Valley Districtwide Local Plan

Policy G1 - Development Control.

Core Strategy Draft Submission Regulation 22

Policy DMG1 – General Considerations.



	COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION:

	This application seeks confirmation in relation to the use of materials on a proved single storey front elevation extension at Mellor Community Centre, Mellor Brook.  The Community Centre is a focal building within the locality but not listed or within a Conservation Area.  The application when approved was carefully considered and it is important to ensure that materials are adequate.  The submitted materials here relate to oak frame fenestration, a grey aluminium window frame and blue slate as a roofing material, stone paving at the front of the building.  I am satisfied with the details submitted and consider they would not adversely affect the character of the existing building or the locality.



	RECOMMENDATION: That materials condition number 2 be discharged.


DATE INSPECTED: 














