Ribble Valley Borough Council

DATE INSPECTED:  02/10/13

DELEGATED ITEM FILE REPORT – Certificate of Lawfulness Proposed Use

| Ref: SK |  |  |
| --- | --- | --- |
| Application No: | 3/2013/0744 |  |
| Development Proposed: | Application for Lawful Development Certificate for a proposed extension to rear elevation, no more than 3m out from the existing rear wall and less than 4m in height. |  |
| # RELEVANT LEGISLATION: |  |  |
| Town and Country Planning (General Permitted Development) Order 2008 and (Amendment) Order 2013. |  |  |
| # CONSULTATIONS: Highway/Water Authority/Other Bodies |  |  |
| N/A |  |  |
| ## CONSULTATIONS: Nearby Residents |  |  |
| N/A |  |  |
| PLANNING HISTORY |  |  |
| N/A |  |  |
| REASONS FOR APPROVAL: |  |  |
| The proposed works constitute permitted development under Schedule 2, Part 1, Class A-H of the GPDO. |  |  |
| COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION: |  |  |
| The application seeks to determine whether the proposed development can be undertaken as permitted development under Schedule 2, Part 1, Classes A - H of the Town and Country Planning (General Permitted Development) (Amendment) (No. 2) (England) Order 2008 and as Amended 2013. When considering whether a development proposal is permitted development, all of the relevant Parts of the rules and all the Classes within those Parts need to be taken into account. This view is substantiated by the guidance published by DCLG (Permitted development for householders Technical Guidance, p.g.7). In order to be permitted development, a proposal must meet all the limitations and conditions under the Classes relevant to the proposal. It is therefore essential that any proposed household development is considered in the context of the permitted development rules as a whole in order to determine whether it benefits from permitted development rights and therefore does not require an application for planning permission. In relation to this proposal, I consider Class A of the aforementioned Order to be applicable. I will discuss the relevant parts of these classes in turn below. Class A Permitted development A. The enlargement, improvement or other alteration of a dwellinghouse. Development not permitted A.1 Development is not permitted by Class A if— - as a result of the works, the total area of ground covered by buildings within the curtilage of the dwellinghouse (other than the original dwellinghouse) would exceed 50% of the total area of the curtilage (excluding the ground area of the original dwellinghouse); Having visited the application site the area covered by the previous additions of the kitchen and lounge extensions plus this addition would not exceed the 50% limitation. - the height of the part of the dwellinghouse enlarged, improved or altered would exceed the height of the highest part of the roof of the existing dwellinghouse; The application relates to a two storey mid terrace dwelling, the proposal would be 3976mm high at its highest point which is considerably lower than the highest part of the roof, therefore, it complies with this criterion. - the height of the eaves of the part of the dwellinghouse enlarged, improved or altered would exceed the height of the eaves of the existing dwellinghouse; This would not be the case as the eaves level of the extension has been set approximately below the eaves of the existing dwelling. (d) the enlarged part of the dwellinghouse would extend beyond a wall which— (i) fronts a highway, and - forms either the principal elevation or a side elevation of the original dwellinghouse; The certificate is for an extension on the rear elevation of the property. This does not directly face onto a highway nor is it considered to be the principal elevation or side elevation of the property. (e) the enlarged part of the dwellinghouse would have a single storey and— - extend beyond the rear wall of the original dwellinghouse by more than 4 metres in the case of a detached dwellinghouse, or 3 metres in the case of any other dwellinghouse, or - exceed 4 metres in height; (ea) until 30th May 2016, for a dwellinghouse not on article 1(5) land nor on a site of special scientific interest, the enlarged part of the dwellinghouse would have a single storey and – - extend beyond the rear wall of the original dwellinghouse by more than 8 metres in the case of a detached dwellinghouse, or 6 metres in the case of any other dwelling house, or - exceed 4m in height The proposal meets the criteria set out in (e) as the extension will project approximately 2500mm, which is under the 4 metres detached property allowance. Part (ii) is not relevant as the extension does not project more that 4 metres. (f) the enlarged part of the dwellinghouse would have more than one storey and— (i) extend beyond the rear wall of the original dwellinghouse by more than 3 metres, or - be within 7 metres of any boundary of the curtilage of the dwellinghouse opposite the rear wall of the dwellinghouse; This criterion is not applicable as the extension proposed is single storey. - the enlarged part of the dwellinghouse would be within 2 metres of the boundary of the curtilage of the dwellinghouse, and the height of the eaves of the enlarged part would exceed 3 metres; The extension proposed is located on the boundary of the property however the lowest part of the proposed eaves height is 2900mm and it therefore meets this criterion. (h) the enlarged part of the dwellinghouse would extend beyond a wall forming a side elevation of the original dwellinghouse, and would— (i) exceed 4 metres in height, (ii) have more than one storey, or - have a width greater than half the width of the original dwellinghouse; Class A(h) is not applicable as the extension proposed is at the rear. or (i) it would consist of or include— (i) the construction or provision of a veranda, balcony or raised platform, (ii) the installation, alteration or replacement of a microwave antenna, (iii) the installation, alteration or replacement of a chimney, flue or soil and vent pipe, or - an alteration to any part of the roof of the dwellinghouse. There is nothing shown on the plans to show that any of the above will be constructed or installed. A.2 In the case of a dwellinghouse on article 1(5) land, development is not permitted by Class A if— - it would consist of or include the cladding of any part of the exterior of the dwellinghouse with stone, artificial stone, pebble dash, render, timber, plastic or tiles; Not applicable. - the enlarged part of the dwellinghouse would extend beyond a wall forming a side elevation of the original dwellinghouse; or Not applicable. - the enlarged part of the dwellinghouse would have more than one storey and extend beyond the rear wall of the original dwellinghouse. Not applicable. Conditions A.3 Development is permitted by Class A subject to the following conditions— - the materials used in any exterior work (other than materials used in the construction of a conservatory) shall be of a similar appearance to those used in the construction of the exterior of the existing dwellinghouse; The existing property is built faced in render and it is proposed that the extension will be faced in materials to match that of the existing dwelling. (b) any upper-floor window located in a wall or roof slope forming a side elevation of the dwellinghouse shall be— (i) obscure-glazed, and - non-opening unless the parts of the window which can be opened are more than 1.7 metres above the floor of the room in which the window is installed; and This condition is not applicable as extension will be single storey. (c) where the enlarged part of the dwellinghouse has more than one storey, the roof pitch of the enlarged part shall, so far as practicable, be the same as the roof pitch of the original dwellinghouse. Not applicable as extension will be single storey. For the reasons stated above, the proposal can be classed as permitted development in respect of Schedule 2, Part 1, Class A. the Town and Country Planning (General Permitted Development) (Amendment) (No. 2) (England) Order 2008. |  |  |
| SUMMARY OF REASONS FOR APPROVAL: |  |  |
| The proposed works constitute permitted development under Schedule 2, Part 1, Class A-H of the Town and Country (General Permitted Development) (Amendment) (No. 2) (England) Order 2008 and (Amendment) 2013. |  |  |
| RECOMMENDATION: That a Certificate of Lawfulness for a proposed use be granted. |  |  |