Ribble Valley Borough Council

DATE INSPECTED:

DELEGATED ITEM FILE REPORT - APPROVAL

| Ref: JM/EL |  |
| --- | --- |
| Application No: | 3/2013/0872/P |
| Development Proposed: | Discharge of conditions 3, 5, 6, 7, 9, 10 and 11 of consent 3/2012/0277/P which relates to a new sports hall at Clitheroe Royal Grammar School, Chatburn Road, Clitheroe |
| # CONSULTATIONS: Parish/Town Council |  |
| N/A |  |
| # CONSULTATIONS: Highway/Water Authority/Other Bodies |  |
| Environment Agency – No comments necessary. Sport England – No objections. |  |
| ## CONSULTATIONS: Additional Representations. |  |
| Although no specific reference has been made by local residents, concern was expressed as a need to comply with the landscaping condition and that the local residents should be informed. Also raise concern regarding the predominant use of buff brick of the walling material as well as one letter expressing concerns about possible flooding. |  |
| RELEVANT POLICIES: |  |
| Policy G1 - Development Control. Policy DMG1 – General Considerations. |  |
| COMMENTS/ENVIRONMENTAL/AONB/HUMAN RIGHTS ISSUES/RECOMMENDATION: |  |
| This proposal seeks to discharge various conditions in relation to the approval given for a sports hall at the Clitheroe Grammar School, Chatburn Road, Clitheroe. Condition 3 relates to a tree monitoring and tree protection condition and although a broad indication of intention has been submitted which is normally satisfactory, it is necessary to have details of a plan showing the root protection area and the areas in which the herras fence will be erected. On that basis it may not be possible to fully discharge the condition. Condition 5 relates to a landscaping scheme and I am satisfied that the revised plan submitted under drawing reference LS01 rev A which has been the subject of consultation with both the school and the local residents is satisfactory. Condition 6 relates to the use of materials and subject to various emails, it has now been agreed to use red brick as the predominant material on the single storey front elevation with the rest of the bricks being buff and a blue brick used. The other materials are satisfactory and would relate to the existing environment. Condition 7 – a construction method statement has been submitted which seems to be a method statement which is of a standard approach but it is lacking in details and in particular the hours of operation. As such I would not be mindful to fully discharge the construction method statement condition. Conditions 9 and 10 relates to the system of drainage but a detailed plan has been submitted which indicates both the foul drainage and the water and surface water and this has been discussed with the Council’s building control officer who is satisfied with the details submitted. Some of the surface water will be discharged to the nearby quarry. Condition 11 relates to materials and as such can be discharged as per condition 6. In relation to the overall design and all the landscaping materials I am satisfied that it is compliant with the intention of the approved scheme and that the materials relate to the existing buildings at the school and will therefore have no detriment to local visual amenity. The landscaping condition which has been subject of negotiation with residents is acceptable and should help soften the impact of the main building without leading to significant daylight loss. |  |
| RECOMMENDATION: That conditions 5, 6, 9, 10 and 11 be fully discharged and conditions 3 and 7 be partially discharged. |  |