| RIBBLE VALLEY BOROUGH COUNCIL |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Department of Development |  |  |  |  |  |
| Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA |  |  |  |  |  |
| Telephone: 01200 425111 | Fax: 01200 414488 |  | Planning Fax: 01200 414487 |  |  |
| Town and Country Planning Act 1990 |  |  |  |  |  |
| DISCHARGE OF CONDITION ATTACHED TO A PLANNING PERMISSION |  |  |  |  |  |
| APPLICATION NO: | 3/2014/0237 |  |  |  |  |
| DECISION DATE: | 12 August 2014 |  |  |  |  |
| DATE RECEIVED: | 28 March 2014 |  |  |  |  |
| APPLICANT: |  |  | AGENT: |  |  |
| Mssrs J & G Holt c/o Woodhall Planning and Conservation 56 Woodhall Lane Calverley Leeds LS28 5NY |  |  | Woodhall Planning and Conservation 56 Woodhall Lane Calverley Leeds W Yorks LS28 5NY |  |  |

| DEVELOPMENT PROPOSED: |  | Discharge of conditions: 3, 6, 7, 8, 10 , 11, 12, 13 of planning consent 3/2013/0154 |
| --- | --- | --- |
| AT: | Bailey Hall Hurst Green Lancashire |  |
| The following Condition(s) have been discharged from the above planning application. |  |  |
|  | 3 |  |
|  | 6 |  |
|  | 7 |  |
|  | 12 |  |
|  | P.T.O. |  |
|  | Informatives 1; The Local Planning Authority operates a pre-planning application advice service which applicants are encouraged to use. Whether or not this was used, the Local Planning Authority has endeavoured to work proactively and positively to resolve issues and considered the imposition of appropriate conditions and amendments to the application to deliver a sustainable form of development.. 2; Further to the granting of listed building consent 3/2013/0155, the proposed works now include the removal of interior plasterwork and the installation of insulated dry lining to walls. Please submit details of this work and its impact (including 'breathability' of the historic fabric) in order for the Borough Council to consider any listed building consent requirements.. 3; The first part of Condition 8 (paint) is likely to be considered for discharge on receipt of specifications for a recessive paint colour that blends with the adjacent walling material (see 'Conversion of Traditional Farm Buildings', English Heritage, 2006, page 20).. 4; Condition 11 - the proposed metal grilles are acceptable. This condition will be considered for discharge on submission of the requested information concerning the roof vents.. 5; Condition 12 - this is discharged on the understanding from the letter received 27 June 2014 (in respect to English Heritage's letter of 23 June 2014) that proposals have been designed to minimise alterations to the historic building fabric and proposed repair materials and techniques are those which are generally acceptable for historic buildings and have a lifespan that is predictable from past performance, are close matches for those being repaired and tend to carry a low risk of future harm or premature failure.. 6; Condition 10 - this will be considered for discharge on the submission of further information concerning the impact of proposed insulated dry lining on the 'breathability' of historic fabric.. 7; Condition 13 - the existing barn roof has a complicated arrangement of stone slates, Welsh slates and Cumbrian slates. This condition will be considered for discharge on the submission of further details in respect to the proposed re-roofing.. |
| JOHN HEAP DIRECTOR OF COMMUNITY SERVICES |  |  |