| RIBBLE VALLEY BOROUGH COUNCIL |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Department of Development |  |  |  |  |  |
| Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA |  |  |  |  |  |
| Telephone: 01200 425111 | Fax: 01200 414488 |  | Planning Fax: 01200 414487 |  |  |
| Town and Country Planning Act 1990 |  |  |  |  |  |
| PLANNING PERMISSION |  |  |  |  |  |
| APPLICATION NO: | 3/2014/1115 |  |  |  |  |
| DECISION DATE: | 17 April 2015 |  |  |  |  |
| DATE RECEIVED: | 05/01/2015 |  |  |  |  |
| APPLICANT: |  |  | AGENT: |  |  |
| Mr Gordon Metcalfe Partner Construction Ltd Durhamgate Suite 1 Green Lane Spennymoor Durham D16 6FY |  |  |  |  |  |

| DEVELOPMENT PROPOSED: |  | Condition 10 varied to read ...This site must be drained on a separate systems combining just prior to connection to the public combined sewerage system. Surface water discharging to the sewerage system must be attenuated to a maximum discharge rate of 5 litres per second..... |
| --- | --- | --- |
| AT: | land off Parsonage Avenue Ribchester PR3 3ZH |  |
| Ribble Valley Borough Council hereby give notice that permission has been granted for the carrying out of the above development in accordance with the application plans and documents submitted subject to the following condition(s): |  |  |
|  | Prior to commencement of the development, the surface water drainage scheme based on sustainable drainage principles and assessment of hydrological and hydrogeological context (inclusive of how the scheme shall be managed after completion) shall be submitted to and approved in writing by the Local Planning Authority. This site must be drained on separate systems combining just prior to connection to the public combined sewage system. Surface water discharging to the sewage system must be attenuated to a maximum discharge rate of 5 litres per second so that it will not exceed the run-off from the undeveloped site and not increase the risk of flooding off site. The drainage strategy should demonstrate the surface water run-off generated up to and including the 100 year plus class climate change critical storm or nor exceed the run-off from the undeveloped site following the corresponding rainfall event. The development must be completed in accordance with the approved scheme prior to first occupation and shall be maintained and managed in accordance with approved details. REASON: To ensure that a satisfactory means of drainage to prevent the risk of flooding in accordance with Policies DMG1 and DME6 of the Ribble Valley Core Strategy adopted version. |  |

Note(s)

|  | For rights of appeal in respect of any condition(s)/or reason(s) attached to the permission see the attached notes. |
| --- | --- |
|  | The applicant is advised that should there be any deviation from the approved plan the Local Planning Authority must be informed. It is therefore vital that any future Building Regulation application must comply with the approved planning application |

JOHN HEAP - DIRECTOR OF COMMUNITY SERVICES