| RIBBLE VALLEY BOROUGH COUNCIL |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Department of Development |  |  |  |  |  |  |
| Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA |  |  |  |  |  |  |
| Telephone: 01200 425111 Fax: 01200 414488 Planning Fax: 01200 414487 |  |  |  |  |  |  |
| Town and Country Planning Act 1990 |  |  |  |  |  |  |
| DISCHARGE OF CONDITION ATTACHED TO A PLANNING PERMISSION |  |  |  |  |  |  |
| APPLICATION NO: | 3/2016/0984 |  |  |  |  |  |
| DECISION DATE: | 05 January 2017 |  |  |  |  |  |
| DATE RECEIVED: | 04 November 2016 |  |  |  |  |  |
| APPLICANT: |  |  | AGENT: |  |  |  |
| J-J Homes (NW) LLP C/o Agent |  |  | Stuart Herd Sunderland Peacock and Ass Ltd Hazelmere Pimlico Road Clitheroe BB7 2AG |  |  |  |

| DEVELOPMENT PROPOSED: |  | Discharge of conditions 3 (materials), 4 (bird and bat boxes), 5 (landscaping), 6 (foul and surface water drainage, 8 (construction management plan), 10 (renewable energy), 11 (junction improvements), 12 (off site highway works) and 14 (boundary treatment) from planning permission 3/2016/0748. |
| --- | --- | --- |
| AT: | Land off Chatburn Old Road Chatburn |  |
| The following Condition(s) have been discharged from the above planning application. |  |  |
| 3 | Precise specifications or samples of walling, roofing and window/door framing materials including their colour and texture shall have been submitted to and approved in writing by the Local Planning Authority before their use in the proposed works. Materials greed as detailed within materials schedule: 5138 - Version 1.04 - Dated 08.09.16 Rev C. Condition 03 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires that the development to be carried out in accordance with the approved details. Full discharge of this condition would be premature given the development is not complete. |  |
| 4 | No development shall take place until details of the provisions to be made for building dependent species of conservation concern, artificial bird nesting boxes and artificial bat roosting sites for that phase have been submitted to, and approved in writing by the Local Planning Authority. The details shall be submitted on a dwelling/building dependent bird/bat species development site plan and include details of plot numbers and the numbers of artificial bird nesting boxes and artificial bat roosting site per individual building/dwelling and type. The details shall also identify the actual wall and roof elevations into which the above provisions shall be incorporated. The artificial bird/bat boxes shall be incorporated into those individual dwellings/buildings during the actual construction of those individual dwellings/buildings identified on the submitted plan before each such dwelling/building is first brought into use, unless otherwise agreed in writing by the Local Planning Authority. The applicant has provided acceptable details in respect of bat and bird boxes within the site - submitted document ref: 5138 - dated 03.08.2016 Condition 04 is partially discharged insofar that the submitted details agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires that the approved details be implemented within the development. Full discharge of this condition would be premature given the development is not complete. |  |
| 5 | The development hereby permitted shall not be commenced until full details of the proposed landscaping have been submitted to, and approved in writing by, the Local Planning Authority. The scheme shall indicate, as appropriate, the types and numbers of trees and shrubs, their distribution on site, their maturity at the time of planting, those areas to be seeded, turfed, paved or hard landscaped, including details of any changes of level or landform. The approved landscaping scheme shall be implemented in the first planting season prior to commencement of the development unless otherwise agreed by the Local Planning Authority, whether in whole or part and shall be maintained thereafter for a period of not less than 15 years to the satisfaction of the Local Planning Authority. This maintenance shall include the replacement of any tree or shrub which is removed, or dies, or is seriously damaged, or becomes seriously diseased, by a species of similar size to those originally planted. Landscaping details agreed as per drawing number 5138 - 08 Rev N (received 03/01/2017) and schedule/specifications as detailed on drawing C-1363-01. Condition 05 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires that the approved details be implemented within the development. Full discharge of this condition would be premature given the development is not complete. |  |
| 6 | Notwithstanding any indication on the approved plans, no development approved by this permission shall commence until a scheme for the disposal of foul and surface waters for the entire site has been submitted to and approved in writing by the Local Planning Authority. For the avoidance of doubt, surface water must drain separate from the foul and no surface water will be permitted to discharge directly or indirectly into existing sewerage systems. The development shall be completed, maintained and managed in accordance with the approved details. Drainage details agreed as per drawing no. 2016/9/B. Condition 06 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires that the approved details be implemented within the development. Full discharge of this condition would be premature given the development is not complete. |  |
| 8 | No part of development shall take place until a Construction Management Plan has been submitted to and approved in writing by the Local Planning Authority for that phase. The approved Statement shall be adhered to throughout the construction period and shall provide for: - The parking of vehicles of site operatives and visitors; - Loading and unloading of plant material; - Storage of plant materials used in the construction of development; - The erection and maintenance of security hoardings; - Wheel washing facilities; - A management plan to control the emission of dust and dirt during construction identifying suitable mitigation measures; - Details of the storage of potential ground and water contaminants - A scheme for protecting trees; - A scheme for recycling/disposing of waste resulting from construction work; and - A scheme to control noise during the construction phase. Details agreed as per submitted Construction Management Plan. Condition 08 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires the development to be carried out in accordance with the approved Construction Management Plan. Full discharge of this condition would be premature given the development is not complete. |  |
| 10 | No development shall take place until a scheme to secure at least 10% of the energy requirements of the development hereby permitted from renewable or low carbon energy sources, with a timetable for implementation, has been submitted to and approved in writing by the local planning authority. Development shall be carried out in accordance with the approved scheme and retained thereafter at all times in accordance with the approved scheme. Any solar panels installed as part of this scheme shall be removed after a period of 25 years from the date of electricity first being generated. Details agreed as per submitted renewal energy table showing 14 -17% carbon reduction (received 03/01/2017) and confirmation that the Geo-thermal boilers will be fully installed and operational prior to the first occupation of any dwellings. Condition 10 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires the development to be carried out in accordance with the approved details. Full discharge of this condition would be premature given the development is not complete. |  |
| 11 | Prior to commencement of development precise details of the junction improvements at Ribble Lane and Chatburn Old Road shall be submitted to and approved in writing by the Local Planning Authority. No part of the development hereby approved shall be occupied until the junction improvements have been implemented in full. Junction improvement details agreed as per drawing number D1350-04. Condition 11 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires that the approved details be implemented before any of the dwellings are brought into use and the applicant must enter into a Section 278 Agreement with LCC in respect of the junction improvement works. Full discharge of this condition would be premature given the development is not complete. |  |
| 12 | No part of the development approved by this permission shall be occupied until a scheme for the off-site highway works, including timescales for implementation for each phase, has been submitted to and approved in writing by the Local Planning Authority. The development shall thereafter be carried out in accordance with the approved details. No details submitted and the applicant is yet to enter into a Section 278 Agreement with Lancashire County Council with regard to the off-site highway works. This condition (12) is therefore not discharged |  |
| 14 | Notwithstanding the details shown on the submitted plan in relation to boundary treatment and fencing, further details shall be submitted and approved in writing by the Local Planning Authority. In relation to the frontage development, notwithstanding the Town and Country Planning (General Permitted Development) (England) Order 2015 no fencing above 1m shall be erected without prior consent from the Local Planning Authority. Boundary details agreed as per drawing numbers 5138 - 08 Rev N and 5138 - 59 (both received 03/01/2017). Condition 14 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. Full discharge of this condition would be premature given the development is not complete. |  |
| JOHN HEAP DIRECTOR OF COMMUNITY SERVICES |  |  |