	Report to be read in conjunction with the Decision Notice.

	

	Application Ref:
	3/2017/1070
	[image: image1.jpg]&7, Ribble Valley
Borough Council
www.ribblevalley.gov.uk





	Date Inspected:
	N/A
	

	Officer:
	AB
	

	DELEGATED ITEM FILE REPORT: 
	CONDITION DISCHARGE

	


	Development Description:
	Discharge of condition 3 (treatment of all the proposed windows and doors) from planning permission 3/2017/0389.

	Site Address/Location:
	Haugh Head Farm Whins Lane Simonstone BB12 7QT

	


	CONSULTATIONS: 
	Parish/Town Council

	N/A

	

	CONSULTATIONS: 
	Additional Representations.

	N/A

	

	RELEVANT POLICIES:

	Ribble Valley Core Strategy

DMG1 – General Considerations
National Planning Policy Framework

	ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION:

	The application seeks to discharge of condition 3 of planning permission 3/2017/0389.

	Condition 3:

Before the development commences, full details of the treatment of all the proposed windows and doors shall have been submitted to and been approved in writing by the Local Planning Authority. The submitted details shall include the proposed method of construction, the materials to be used, fixing details (including cross sections) and their external finish including any surrounds, cills or lintels. The development shall be carried out in accordance with the approved details.

Planning application 3/2017/0389 granted consent for the conversion of part of the barn attached to the farmhouse at Haugh Head Farm to extended living accommodation. This required the insertion of two new first floor window openings. The applicant has provided sectional and elevational drawings of the windows which would have timber frames. The openings would be framed with natural stone heads, jambs and sills to match the existing and the glazing would be set back in the masonry by 180mm.

This is considered to be reflective of the existing window openings and would be in keeping with the rest of the property. As such, it is recommended that the condition be discharged insofar that the submitted details are acceptable. There remains the requirement for the window openings to be constructed in accordance with the approved details. 

	RECOMMENDATION:
	That condition no.3 be partially discharged. 


