RIBBLE VALLEY BOROUGH COUNCIL

PLANNING PERMISSION CONTINUED
APPLICATION NO.       3/2017/1146                                                            DECISION DATE:  14 February 2018

	RIBBLE VALLEY BOROUGH COUNCIL
	
	

	Department of Development
	
	
	
	

	Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA
	
	

	Telephone: 01200 425111
	Fax: 01200 414488
	Planning Fax: 01200 414487
	

	Town and Country Planning Act 1990
	
	
	

	DISCHARGE OF CONDITION ATTACHED TO A PLANNING PERMISSION

	APPLICATION NO:
	3/2017/1146
	
	
	

	DECISION DATE:
	14 February 2018
	
	
	

	DATE RECEIVED:
	08 December 2017
	
	
	

	

	APPLICANT:
	
	
	AGENT:
	
	

	Mr Rebby Tapsell
Three Rivers Park Ltd

Three Rivers Woodland Park

Eaves Hall Lane

West Bradford

Cliltheroe

BB7 3JG
	
	

	
	
	

	
	
	

	
	
	

	
	
	


	DEVELOPMENT PROPOSED:
	Discharge of condition 7 (Tree Protection), condition 8 (foul and surface water drainage) and condition 10 (non-native species removal and disposal) from planning permission 3/2015/0977.

	AT:
	Three Rivers Caravan Park  Eaves Hall Lane  West Bradford  BB7  3JG

	The following Condition(s) have been discharged from the above planning application.



	7
	Prior to the commencement of any ground preparation works, all existing trees that are shown for retention on the submitted plans and in the Arboricultural Impact Assessment (Reference AIA 17/11/15 ), and that are close to any of the areas affected by those ground works, shall be protected with a route protection area in accordance with BS5837 (trees in relation to construction) precise details of which shall first have been submitted to and approved in writing by the Local Planning Authority.  Details of a tree protection monitoring schedule shall also be submitted to and agreed in writing by the Local Planning Authority before any ground works are commenced.  The monitoring schedule shall then be implemented in accordance with the agree details.  The root protection area shall remain in place until all ground remodelling works have been completed and all excess materials have been removed from the site.

Tree protection details agreed as per submitted Tree Protection Plan (amended plan received 18/12/17) and Arboricultural Inspection/Works Schedule.

Condition 7 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires the development to be carried out in accordance with the approved details.  

Full discharge of this condition would be premature given the development is not complete.

P.T.O.

	8
	Prior to the commencement of development (including the formation of any roads or hard surfaces) a detailed scheme for the disposal of foul and surface waters shall be submitted to and approved in writing by the Local Planning Authority.  The scheme shall then be constructed and completed in accordance with the approved details prior to the siting of the first caravan on any of the approved new 56 static caravan pitches hereby approved; and, thereafter, shall be appropriately maintained and operated in perpetuity

Drainage details agreed as per drawing D/0/100 and email received from applicant dated 31/01/18.

Condition 8 is partially discharged insofar that the submitted details have been agreed by the Local Planning Authority. The condition cannot be fully discharged as it requires the development to be carried out in accordance with the approved details.  

Full discharge of this condition would be premature given the development is not complete.



	10
	No part of the development shall be commenced until a non-native species removal and disposal method statement has been submitted to and approved in writing by the Local Planning Authority. This shall include details of the eradication and removal from the site all Japanese Knotweed and Himalayan Balsam. The removal and disposal of these species shall then be carried out in accordance with the approved method statement to the satisfaction of the Local Planning Authority.

Submitted species removal and disposal method statement agreed.

Condition 10 is discharged.



	
	

	
	

	JOHN HEAP

DIRECTOR OF COMMUNITY SERVICES

	

	


2

