| Report to be read in conjunction with the Decision Notice. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Application Ref: | 3/2018/0118 |  |  |  |
| Date Inspected: | -- |  |  |  |
| Officer: | RM |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  | CONDITION DISCHARGE |
| Development Description: |  |  | Discharge of conditions 6 (wheel washing), 7 (construction method statement), 11 (highway works), 15 (road condition survey), 16 (Traffic Regulation Order), 25 (landscaping), 27 (pond), 33 (archaeological record), 34 (photographic record), 35 (surface water drainage), 36 (sustainable drainage system), 38 (surface water drainage) from planning permission 3/2017/0616. |  |
| Site Address/Location: |  |  | Clitheroe Hospital |  |
| CONSULTATIONS: |  |  | Parish/Town Council |  |
| N/A |  |  |  |  |
| LAAS |  |  | The building record is appropriate and the condition can be discharged. |  |
| CONSULTATIONS: |  |  | Additional Representations. |  |
| N/A |  |  |  |  |
| RELEVANT POLICIES: |  |  |  |  |
| Ribble Valley Core Strategy: Policy DMG1 – General Considerations Policy DME4 – Protecting Heritage Assets National Planning Policy Framework (NPPF) |  |  |  |  |
| ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION: |  |  |  |  |
| The application seeks to discharge conditions 6 (wheel washing), 7 (construction method statement), 11 (highway works), 15 (road condition survey), 16 (Traffic Regulation Order), 25 (landscaping), 27 (pond), 33 (archaeological record), 34 (photographic record), 35 (surface water drainage), 36 (sustainable drainage system), 38 (surface water drainage) from planning permission 3/2017/0616. |  |  |  |  |
| Condition 06: For the full period of construction, facilities shall be available on site for the cleaning of the wheels of vehicles leaving the site and such equipment shall be used as necessary to prevent mud and stones being carried onto the highway. The roads adjacent to the site shall be mechanically swept as required during the full construction period. Details agreed as per Section 1.7 of the Environmental Management Plan Condition 6 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 07: Notwithstanding the submitted details or the requirements of condition 2, no development shall take place, including any works of demolition, until a construction method statement has been submitted to and approved in writing by the local planning authority. The approved statement shall be adhered to throughout the construction period. It shall provide include: - The parking of vehicles of site operatives and visitors; - Loading and unloading of plant and materials used in the construction of the development; - Storage of such plant and materials; - Periods when plant and materials trips should not be made to and from the site (mainly peak hours but the developer to identify times when trips of this nature should not be made); - Routes to be used by vehicles carrying plant and materials to and from the site; - Measures to ensure that construction and delivery vehicles do not impede access to adjoining properties. Details agreed as per following documents: - Environmental Management Plan - Environmental Management Plan (Addendum Report – HGV Routing Plan) (received 01/03/18) - Management Plan – MP-01 (received 01/03/18) Condition 7 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 11: No part of the development hereby approved shall commence until a scheme for the construction of the site access and the off-site works of highway improvement has been submitted to, and approved by, the Local Planning Authority in consultation with the Highway Authority as part of a section 278 agreement, under the Highways Act 1980. The off-site highway works shall include the widening of the footway to the front of the site to a minimum width of 2.0m, alterations to the existing street lighting on Chatburn Road where required, the introduction of an extended 30mph speed limit and waiting restrictions on Chatburn Road, and reinstatement of the redundant access points. Details agreed as per drawings C054 P01 C3057 P02 C3051 P03 C3050 P03 C3053 P04 C3052 P04 Condition 11 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 15: Prior to the start of the development, a joint survey shall be carried out between the developer and the planning authority (in conjunction with the highway authority) to determine the condition of Chatburn Road A similar survey shall be carried out every six months and the final inspection within one months of the completion of the last house, and the developer shall make good any damage to Chatburn Road to return it to the pre-construction situation as required. LCC Highways have confirmed their acceptance of the road survey. Condition 15 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires further surveys to be carried out during the construction process and therefore full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 16: Prior to the commencement of any development an order shall be placed for staff costs, the advertising and implementation of traffic regulation orders for waiting restrictions along Chatburn Road and the extension of the 30mph speed limit up to and including the Pimlico Link Road roundabout speed limits, to the satisfaction of the Local Planning Authority in consultation with the Highway Authority. LCC Highways have confirmed that the applicant has paid the invoice for the agreed Traffic Regulation Order works and condition 16 is therefore discharged. |  |  |  |  |
| Condition 25: No development, including any site preparation, scrub/hedgerow clearance or tree works/removal shall commence or be undertaken on site until a scheme of phasing for the approved landscaping scheme (as shown on approved drawing 5493.01 Rev B - amended plan received 05/10/17) has been submitted to and approved in writing by the Local Planning Authority. The development shall be carried out in strict accordance with the duly approved timings and phasing's. The areas which are landscaped shall be retained as landscaped areas thereafter. Any trees or shrubs removed, dying, being severely damaged or becoming seriously diseased within three years of planting shall be replaced by trees or shrubs of similar size and species to those originally required to be planted. Landscaping timings and phasing details agreed – - Within first planting season following occupation of each plot; - All communal areas will be landscaped within the first planting season after occupation of the 30th dwelling Condition 25 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 27: Notwithstanding the submitted details, precise specifications including a method statement of the creation of the pond shall have been submitted to and approved by the Local Planning Authority before the implementation of any works within the Root Protection Areas of the protected trees, primarily G4 and G5 (as referenced within Clitheroe Old Hospital, A671, Chatburn Rd Tree Preservation Order 2017). Any excavation within the Root Protection Area (RPA) of the protected trees shall be carried out by hand tools unless an arboriculturalist is present to monitor vehicle use. Any vehicle used in this way must work from existing hard standing and not enter the soft ground at any time. If any roots are uncovered which are larger than 25mm or in clumps larger than 25mm all works should stop as the roots may be essential to the trees health and safety and appropriate action must be taken , in accordance with BS5837 (2012): Trees in Relation to Construction. Applicant has confirmed the pond has been omitted from the proposal and therefore condition 27 does not need to be discharged. |  |  |  |  |
| Condition 33: No development shall take place until the applicant, or their agent or successors in title, has secured the implementation of a programme of archaeological building recording and analysis. This must be carried out in accordance with a written scheme of investigation, which shall first have been submitted to and agreed in writing by the Local Planning Authority. The programme of recording should comprise a Level 3 record, as set out in 'Understanding Historic Buildings' (Historic England 2016). It should be undertaken by an appropriately experienced and qualified professional archaeological contractor to the standards and guidance set out by the Chartered Institute for Archaeologists. The submitted Historic Building Record (undertaken by Stephen Haigh and dated December 2017) is accepted and therefore condition 33 is discharged. |  |  |  |  |
| Condition 34: No development shall take place until the applicant, or their agent or successors in title, has undertaken a photographic record of the interior, exterior and immediate surroundings of the former workhouse and infirmary buildings and submitted details of a method of "interpretation" (in relation to the former Clitheroe Union Workhouse) to be installed at the site. The submitted details shall include the content of this "interpretation", its design and siting, and a timetable for its installation on site, and the development shall be carried out in complete accordance with the approved details. The submitted Photographic Record is accepted and the “Interpretation” details agreed as per following documents - 1079 Clitheroe Hospital revised scheme for interpretation – received 19/04/18 - ClitheroeHospital_A1_v1 – received 04/05/18 Condition 34 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 35: No development shall commence until final details of the design, based on sustainable drainage principles, and implementation of an appropriate surface water sustainable drainage scheme have been submitted to and approved in writing by the local planning authority. Those details shall include, as a minimum: a) Information about the lifetime of the development, design storm period and intensity (1 in 30 & 1 in 100 year + allowance for climate change see EA advice Flood risk assessments: climate change allowances'), discharge rates and volumes (both pre and post development), temporary storage facilities, the methods employed to delay and control surface water discharged from the site, and the measures taken to prevent flooding and pollution of the receiving groundwater and/or surface waters, including watercourses, and details of floor levels in AOD; b) The drainage strategy should demonstrate that the surface water run-off must not exceed 6.17 litres per second. The scheme shall subsequently be implemented in accordance with the approved details before the development is completed. c) Any works required off-site to ensure adequate discharge of surface water without causing flooding or pollution (which should include refurbishment of existing watercourses (open or culverted) and headwalls or removal of unused culverts where relevant); d) Flood water exceedance routes, both on and off site; e) A timetable for implementation, including phasing as applicable; f) Evidence of an assessment of the site conditions to include a site investigation and test results to confirm infiltrations rates. g) Details of water quality controls, where applicable. The scheme shall be implemented in accordance with the approved details prior to first occupation of any of the approved dwellings, or completion of the development, whichever is the sooner. Thereafter the drainage system shall be retained, managed and maintained in accordance with the approved details. Drainage details agreed as per following drawings and documents: - Drainage layout plan – ref: 17067 C2001 Rev P06 - Plot drainage sheet 1 – ref: 17067 C2002 Rev P03 - Plot drainage sheet 2 – ref: 17067 C2003 Rev P03 - Microdrainage calculations – ref: 17067-SW (20.03.18) - Exceedance layout plan – ref: 17067 C2005 Rev P02 - Ground investigation report – ref: 17-1035 Condition 35 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 36: No development shall commence until details of an appropriate management and maintenance plan for the sustainable drainage system for the lifetime of the development have been submitted which, as a minimum, shall include: - The arrangements for adoption by an appropriate public body or statutory undertaker, management and maintenance by a Residents' Management Company b) Arrangements concerning appropriate funding mechanisms for its on-going maintenance of all elements of the sustainable drainage system (including mechanical components) and will include elements such as: i. on-going inspections relating to performance and asset condition assessments ii. operation costs for regular maintenance, remedial works and irregular maintenance caused by less sustainable limited life assets or any other arrangements to secure the operation of the surface water drainage scheme throughout its lifetime; c) Means of access for maintenance and easements where applicable. The plan shall be implemented in accordance with the approved details prior to first occupation of any of the approved dwellings, or completion of the development, whichever is the sooner. Thereafter the sustainable drainage system shall be managed and maintained in accordance with the approved details. Drainage Strategy agreed as per drawing C2001 P04 and email confirmation from UU regarding Section 104 Agreement dated 01/02/18 Condition 36 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 38: Prior to the commencement of any development, a surface water drainage scheme, based on the hierarchy of drainage options in the National Planning Practice Guidance with evidence of an assessment of the site conditions shall be submitted to and approved in writing by the Local Planning Authority. The surface water drainage scheme must be in accordance with the Non-Statutory Technical Standards for Sustainable Drainage Systems (March 2015) or any subsequent replacement national standards and unless otherwise agreed in writing by the Local Planning Authority, no surface water shall discharge to the public sewerage system either directly or indirectly. The development shall be completed in accordance with the approved details. Drainage Strategy agreed as per drawing C2001 P04. Condition 38 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| RECOMMENDATION: |  | That the above conditions be partially discharged. |  |  |