| RIBBLE VALLEY BOROUGH COUNCIL |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Department of Development |  |  |  |  |  |  |
| Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA |  |  |  |  |  |  |
| Telephone: 01200 425111 |  | Fax: 01200 414488 |  | Planning Fax: 01200 414487 |  |  |
| Town and Country Planning Act 1990 |  |  |  |  |  |  |
| PLANNING PERMISSION |  |  |  |  |  |  |
| APPLICATION NO: | 3/2018/0344 |  |  |  |  |  |
| DECISION DATE: | 24 May 2018 |  |  |  |  |  |
| DATE RECEIVED: | 19/04/2018 |  |  |  |  |  |
| APPLICANT: |  |  |  | AGENT: |  |  |
| Waddicor Pym Pendle View Developments Ltd Brook View Hayfield Beardwood Blackburn BB2 7BP |  |  |  | Mr Paul Gudgeon Sunderland Peacock and Ass Ltd Hazelmere Pimlico Road Clitheroe BB7 2AG |  |  |

| DEVELOPMENT PROPOSED: |  | Resubmission of planning application relating to design amendments to planning permission 3/2017/0674 in connection with the construction of four dwellings including associated drives, gardens and external landscaping works. |
| --- | --- | --- |
| AT: | The Moorcock Inn Slaidburn Road Waddington BB7 3AA |  |
| Ribble Valley Borough Council hereby give notice that permission has been granted for the carrying out of the above development in accordance with the application plans and documents submitted subject to the following condition(s): |  |  |
|  | The development must be begun not later than the expiration of three years beginning with the date of this permission. Reason: Required to be imposed pursuant to Section 91 of the Town and Country Planning Act 1990 |  |
|  | The permission shall relate to the development as shown on Plan Reference Proposed Site 5513-P06 Rev D Amended date 10/05/18, Proposed House Elevation Plans References 5513-P01B, 5513-P02B, 5513-P03B, 5513-P04B and Proposed Garage Elevation 5513-P05. Reason: For the avoidance of doubt and to ensure that the development is carried out in accordance with the submitted plans. P.T.O. |  |
|  | Precise specifications or samples of all external surfaces including any replacement materials and surfacing materials of the development hereby approved shall have been submitted to and approved by the Local Planning Authority before their use in the proposed development. The approved details shall be implemented as part of the development. REASON: In order that the Local Planning Authority may ensure that the materials to be used are appropriate to the locality in accordance with Policies DMG1 and DME4 of the Core Strategy.The applicant is advised that the materials submitted with the application is considered to be acceptable and it will only be necessary to see samples of external walling, roofing and paving. |  |
|  | Notwithstanding the submitted CMP no development shall take place until additional details in a revised Construction Method Statement has been submitted to and approved in writing by the local planning authority. For the avoidance of doubt the submitted statement shall provide details of: A. The location of parking of vehicles of site operatives and visitors B. The location for the loading and unloading of plant and materials C. The location of storage of plant and materials used in constructing the development D. The locations of security hoarding E. The location and nature of wheel washing facilities to prevent mud and stones/debris being carried onto the Highway (For the avoidance of doubt such facilities shall remain in place for the duration of the construction phase of the development) and the timings/frequencies of mechanical sweeping of the adjacent roads/highway F. Periods when plant and materials trips should not be made to and from the site (mainly peak hours but the developer to identify times when trips of this nature should not be made) G. Days and hours of operation for all construction works. The approved statement shall be adhered to throughout the construction period of the development. REASON: In the interests of protecting residential amenity from noise and disturbance and to ensure the safe operation of the Highway in accordance with Policies DMG1 and DMG3 of the Ribble Valley Core Strategy. |  |
|  | The layout of the development shalll be laid out in accordance with the submitted plan and the vehicular turning space shall be laid out and be available for use before the development is brought into use and maintained thereafter. REASON: In order to ensure a satisfactory design of the building and in the interests of highway safety and comply with Policies DMG1 and DMG3 of the Ribble Valley Core Strategy as vehicles reversing to and from the highway are a hazard to other road users. P.T.O. |  |
|  | For the full period of construction, facilities shall be available on site for the cleaning of the wheels of vehicles leaving the site and such equipment shall be used as necessary to prevent mud and stones being carried onto the highway. The roads adjacent to the site shall be mechanically swept as required during the full construction period. |  |
|  | No development shall commence until details of an appropriate arrangement and maintenance plan for the sustainable drainage system for the lifetime of the development have been submitted which, as a minimum, shall include: a) the arrangements for adoption by an appropriate public body or statutory undertaker, management and maintenance by a Residents' Management Company REASON: In order to ensure a satisfactory design of the building and in the interests of highway safety and comply with Policies DMG1 and DMG3 of the Ribble Valley Core Strategy and to prevent stones and mud being carried onto the public highway to the detriment of road safety. P.T.O. |  |
|  | No development on the dwellings or garages shall commence until final details of the design, based on sustainable drainage principles, and implementation of an appropriate surface water sustainable drainage scheme have been submitted to and approved in writing by the local planning authority. Those details shall include, as a minimum: a) Information about the lifetime of the development, design storm period and intensity (1 in 30 & 1 in 100 year + allowance for climate change see EA advice Flood risk assessments: climate change allowances'), discharge rates and volumes (both pre and post development), temporary storage facilities, the methods employed to delay and control surface water discharged from the site, and the measures taken to prevent flooding and pollution of the receiving groundwater and/or surface waters, including watercourses, and details of floor levels in AOD; b) The drainage strategy should demonstrate that the surface water run-off must not exceed pre-development runoff rates. The scheme shall subsequently be implemented in accordance with the approved details before the development is completed. c) Any works required off-site to ensure adequate discharge of surface water without causing flooding or pollution (which should include refurbishment of existing culverts and headwalls or removal of unused culverts where relevant); d) Flood water exceedance routes, both on and off site; e) A timetable for implementation, including phasing as applicable; f) Evidence of an assessment of the site conditions to include site investigation and test results to confirm infiltrations rates; g) Details of water quality controls, where applicable. The scheme shall be implemented in accordance with the approved details prior to first occupation of any of the approved dwellings, or completion of the development, whichever is the sooner. Thereafter the drainage system shall be retained, managed and maintained in accordance with the approved details. REASON: To ensure that appropriate and sufficient funding and maintenance mechanisms are put in place for the lifetime of the development; to reduce the flood risk to the development as a result of inadequate maintenance and to identify the responsible organisation/body/company/undertaker for the sustainable drainage system and comply with Policy DMG1 of the Ribble Valley Core Strategy. P.T.O. |  |
|  | Prior to commencement of any building work on the dwellings or garages further details of a scheme for the hard and soft landscaping of the site shall be submitted to and approved in writing by the local planning authority. The scheme shall incorporate the recommendations of the Visual Impact Assessment and Mitigation Report and Arboricultural Impact Report dated June 2016 and June 10th 2016 . The approved soft landscaping scheme shall be implemented in the first planting season following occupation or use of the development unless otherwise required by the reports above, whether in whole or part and shall be maintained thereafter for a period of not less than 10 years to the satisfaction of the Local Planning Authority. This maintenance shall include the replacement of any tree or shrub which is removed, or dies, or is seriously damaged, or becomes seriously diseased, by a species of similar size to those originally planted. The hard landscaping shall be implemented in accordance with the approved details prior to the occupation of the development and retained thereafter at all times. REASON: To ensure the proposal is satisfactorily landscaped and in the interests of biodiversity and appropriate to the locality in accordance with Key Statements and Policies DMG1, DME1, DME2, DME3 and DME4 of the Ribble Valley Core Strategy. |  |
|  | The artificial bird/bat boxes shown on the plan shall be incorporated into agreed locations on individual buildings or trees or structures around the buildings during the construction of those buildings identified on the submitted plan and be made available for use before the site is occupied and thereafter retained. The development shall be carried out in strict accordance with the approved details. REASON: In the interests of biodiversity and to enhance nesting/roosting opportunities for species of conservation concern and to reduce the impact of development in accordance with Key Statement and Policies DMG1, DME1 and DME3 of the Ribble Valley Core Strategy |  |

Note(s)

|  | For rights of appeal in respect of any condition(s)/or reason(s) attached to the permission see the attached notes. |
| --- | --- |
|  | The applicant is advised that should there be any deviation from the approved plan the Local Planning Authority must be informed. It is therefore vital that any future Building Regulation application must comply with the approved planning application. |
|  | The Local Planning Authority operates a pre-planning application advice service which applicants are encouraged to use. Whether or not this was used, the Local Planning Authority has endeavoured to work proactively and positively to resolve issues and considered the imposition of appropriate conditions and amendments to the application to deliver a sustainable form of development. |

JOHN HEAP

DIRECTOR OF COMMUNITY SERVICES