| Report to be read in conjunction with the Decision Notice. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Application Ref: | 3/2018/0417 |  |  |  |
| Date Inspected: |  |  |  |  |
| Officer: | RM |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  | CONDITION DISCHARGE |
| Development Description: |  |  | Discharge of condition 6 (scheme for the disposal of foul and surface waters for the entire site) from planning permission 3/2016/0748. |  |
| Site Address/Location: |  |  | Hare Hill Croft, Chatburn Old Road |  |
| CONSULTATIONS: |  |  | Parish/Town Council |  |
| N/A |  |  |  |  |
| CONSULTATIONS: |  |  | Additional Representations. |  |
| RELEVANT POLICIES: |  |  |  |  |
| Ribble Valley Core Strategy: Policy DMG1 – General Considerations Policy DME6 – Water Management National Planning Policy Framework (NPPF) |  |  |  |  |
| ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION: |  |  |  |  |
| The application seeks to discharge condition 6 (scheme for the disposal of foul and surface waters for the entire site) from planning permission 3/2016/0748. |  |  |  |  |
| Condition 06: Notwithstanding any indication on the approved plans, no development approved by this permission shall commence until a scheme for the disposal of foul and surface waters for the entire site has been submitted to and approved in writing by the Local Planning Authority. For the avoidance of doubt, surface water must drain separate from the foul and no surface water will be permitted to discharge directly or indirectly into existing sewerage systems. The development shall be completed, maintained and managed in accordance with the approved details. Drainage details agreed as per submitted Drawing JJ Construction NW Ltd Rev B (Dated 8th June 2018). Condition 06 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details and maintained as such thereafter. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| RECOMMENDATION: |  | That condition 6 be partially discharged |  |  |