	Signed 
	……………..…….

Manager
	………………..….

Officer

	Date
	
	



	Report to be read in conjunction with the Decision Notice.

	

	Application Ref:
	3/2018/0529
	[image: image1.jpg]&7, Ribble Valley
Borough Council
www.ribblevalley.gov.uk





	Date Inspected:
	15/10/18
	

	Officer:
	JM
	

	DELEGATED ITEM FILE REPORT: 
	CONDITION DISCHARGE

	


	Development Description:
	Application for the discharge of conditions 4 (revised Construction Method Statement), 7 (appropriate arrangement and maintenance plan for the sustainable drainage system), 8 (sustainable drainage principles, and implementation of an appropriate surface water sustainable drainage scheme) and 9 (hard and soft landscaping) from planning permission 3/2018/0344.

	Site Address/Location:
	The Moorcock Inn Slaidburn Road Waddington

	


	CONSULTATIONS: 
	Parish/Town Council

	

	

	CONSULTATIONS: 
	Highways/Water Authority/Other Bodies

	LLC highways-No objection but considered the need for the resiting of the wheel wash facility and clarification in relation to parking areas.
LLFA- As work has commenced unwilling to comment. 

RVBC- Drainage- Satisfied with submitted details

	CONSULTATIONS: 
	Additional Representations.

	

	

	RELEVANT POLICIES:

	Ribble Valley Core Strategy:

Policy DMG1 – General Considerations



	ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION:

	The application seeks to discharge a conditions in relation to a housing development approved on the outskirts of Waddington in the AONB 

	Condition 4 ( Construction Method Statement)  is partially discharged and fully discharged upon implementation of the submitted scheme during operation of the development. Notwithstanding the submitted plans the wheel washing facility shall be located further into the site adjacent to the skips to ensure adequate highway safety during operations.

Condition 7 (appropriate arrangement and maintenance plan for the sustainable drainage system) and 8 (sustainable drainage principles, and implementation of an appropriate surface water sustainable drainage scheme) be partially discharged and fully discharged upon implementation. This is based on the submitted drainage scheme which is considered suitable for the development as well as the additional details submitted during consideration of the application. 

Condition  9 (hard and soft landscaping) be partially discharged and fully discharged upon implementation and retention. It is considered that the soft landscaping shown on Proposed Site Plan 5513-P06 Rev D which includes native hedgerow, herb rich grassland and native woodland trees are appropriate to the locality and would enhance the local environment in relation to biodiversity and visual amenity. The hard landscape details include natural stone  boundary walls, timber fences and resin bonded driveways which are appropriate to its local setting.

On the basis of the details it is considered possible to discharge as approporiate

	

	Recommendation
	 Conditions 4,7,8 and 9 be partially discharged


