| Report to be read in conjunction with the Decision Notice. |
| --- |
| Application Ref: | 3/2018/0566 |  |
| Date Inspected: | -- |  |
| Officer: | RM |  |
| DELEGATED ITEM FILE REPORT: | CONDITION DISCHARGE |
| Development Description: | Discharge of condition 16 (drainage) from planning permission 3/2017/0183 |
| Site Address/Location: | Malt Kiln Brow, Chipping |
| CONSULTATIONS: | Parish/Town Council |
| N/A |
| United Utilities | Condition 16 can be discharged |
| CONSULTATIONS: | Additional Representations. |
| N/A |
| RELEVANT POLICIES: |
| Ribble Valley Core Strategy: Policy DMG1 – General Considerations Policy DME6 – Water Management National Planning Policy Framework (NPPF) |
| ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION: |
| The application seeks to discharge of condition 16 (drainage) from planning permission 3/2017/0183 |
| Condition 16: Prior to the commencement of any development, a surface water drainage scheme, based on the hierarchy of drainage options in the National Planning Practice Guidance with evidence of an assessment of the site conditions shall be submitted to and approved in writing by the Local Planning Authority. The surface water drainage scheme must be in accordance with the Non-Statutory Technical Standards for Sustainable Drainage Systems (March 2015) or any subsequent replacement national standards and unless otherwise agreed in writing by the Local Planning Authority, no surface water shall discharge to the public sewerage system either directly or indirectly. The development shall be completed in accordance with the approved details. Drainage details agreed as per report ref: 3081/PC/001 Rev 4. Condition 16 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority. The condition requires that the approved details be implemented within the development in accordance with the approved plans/details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |
| RECOMMENDATION: | That the above condition be partially discharged |