	Report to be read in conjunction with the Decision Notice.

	

	Application Ref:
	3/2018/0673
	[image: image1.jpg]&7, Ribble Valley
Borough Council
www.ribblevalley.gov.uk





	Date Inspected:
	N/A
	

	Officer:
	RB
	

	DELEGATED ITEM FILE REPORT: 
	CONDITION DISCHARGE

	


	Development Description:
	Discharge of condition 3 (materials) from planning permission 3/2017/0655

	Site Address/Location:
	Barnsteads Barn, Waddington Road, West Bradford BB7 4SX

	


	CONSULTATIONS: 
	Parish/Town Council

	N/A

	

	CONSULTATIONS: 
	Additional Representations.

	N/A

	

	RELEVANT POLICIES:

	Ribble Valley Core Strategy
DMG1 – General Considerations
National Planning Policy Framework

	ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION:

	The application seeks to discharge of condition 3 of planning permission 3/2017/0655

	Condition 3:

Notwithstanding the submitted details, precise specifications or samples of all external surfaces, including surfacing materials and their extents, of the development hereby permitted shall have been submitted to and approved by the Local Planning Authority before their use in the proposed development.  The approved materials shall be implemented within the development in strict accordance with the approved details.
Material details agreed as follows:
-Roof slate as existing

- Stone as existing
-Aluminium Bi Folding Doors RAL7016

 -Aluminium Window RAL 7016
-Roof Light Low Profile, Aluminium framed window

-Gutters RAL 7016 Aluminium 

-Fascias – RAL 7016

Condition 03 is partially discharged insofar that the submitted details are agreed by the Local Planning Authority.  The condition requires that the approved details be implemented within the development in accordance with the approved plans/details and maintained as such thereafter.  

Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged.

Full discharge of this condition at this time would be premature given the development is not complete.


	RECOMMENDATION:
	That condition 3 can be partially/fully discharged.


