	Report to be read in conjunction with the Decision Notice.

	

	Application Ref:
	3/2018/1155
	[image: image1.jpg]&7, Ribble Valley
Borough Council
www.ribblevalley.gov.uk





	Date Inspected:
	~
	

	Officer:
	AB
	

	DELEGATED ITEM FILE REPORT: 
	CONDITION DISCHARGE

	


	Development Description:
	Discharge of Condition 14 from planning consent 3/2018/0296

	Site Address/Location:
	Land rear of Rocklea and Standridge Whalley Road Billington BB7 9NA

	


	CONSULTATIONS: 
	Parish/Town Council

	N/A

	

	CONSULTATIONS: 
	Additional Representations.

	N/A

	

	RELEVANT POLICIES:

	Ribble Valley Core Strategy

Policy DME6 – Water Management
National Planning Policy Framework

	ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION:

	Application for the discharge of conditions 14 (surface water drainage) from planning consent 3/2018/0296.

	Condition 14:

Prior to the commencement of any development, a surface water drainage scheme, based on the hierarchy of drainage options in the National Planning Practice Guidance with evidence of an assessment of the site conditions shall be submitted to and approved in writing by the Local Planning Authority.

The surface water drainage scheme must be in accordance with the Non-Statutory Technical Standards for Sustainable Drainage Systems (March 2015) or any subsequent replacement standards and unless otherwise agreed in writing by the Local Planning Authority, no surface water shall discharge to the public sewerage system either directly or indirectly.

The development shall be completed in accordance with the approved details.

United Utilities recommends that condition 14 is not discharged. This is because the drainage system appears to be undersized and the applicant has not provided sufficient detail to confirm that the size does not flood in a 100 year storm event.

	RECOMMENDATION:
	That condition 14 cannot be discharged. 


