Ribble Valley Borough Council

Council offices

Church Walk

CLITHEROE

BB7 2RA

My reference: 3/2019/0081

Direct Dial: (01200) 425111

Fax: (01200) 414487

Email: planning@ribblevalley.gov.uk

Date: 09 April 2020

Location: Land off Waddington Road Clitheroe Lancashire BB7 2DE

Proposal: Discharge of conditions 7 (construction method statement), 8 (flood mitigation), 9 (surface water drainage), 10 (foul drainage), 15 (code for sustainable homes), 16 (restriction of vehicles), 17 (finished floor levels), 18 (bat survey on barn), 21 (watercourse and hedgerow enhancement), 25 (construction traffic access), 29 (phasing of construction), 30 (cycle tracks and footpaths) and 31 (framework travel plan) from planning permission 3/2014/0597.

I write in response to your application to discharge the conditions pursuant to planning approval 3/2019/0081

Condition 7 is partially discharged insofar that the following submitted information is considered to satisfy the requirements of the condition: Construction Environmental Management Plan (CEMP:WVC:JC:01 Rev: A) Tree Removal & Protection Plan Ref: D6896.102 Tree Protection Fencing Specification Ref: D_TREE_FENCING.001 Traffic Management Plan Ref: H7839-07 Rev A Tree Survey Table-Root Protection Areas Ref: X6896.001 The condition requires that the agreed management plan be adhered to throughout the entire period of the construction works. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 8 is partially discharged insofar that the submitted details satisfy the requirements of the condition. The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 9 is partially discharged insofar that the submitted surface water drainage scheme is considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Flood Exceedance Routes for greater than 100 year storm event plan Ref: DWH155-107 Rev A 100 year return period summary of critical results by maximum level for surface networks 1-5 Silt Mitigation Layout Ref: SILT MIT Rev A Surface Water Management Plan Ref: 322658-R01 Landscape Management Plan Ref: 16483 Issue 1 Management Company Plan Ref: H7839-MC The condition requires that the scheme be implemented in accordance with the approved details (including approved phasing) and shall be retained in perpetuity thereafter.

Condition 10 is partially discharged insofar that the submitted details satisfy the requirements of the condition. The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 15 is fully discharged insofar that the Code for Sustainable Homes has been revoked and therefore the condition cannot be satisfied. As such the applicant is no longer required to meet the requirements imposed by the condition.

Condition 16 is partially discharged insofar that it has been confirmed that the bus lane is no longer required. As such, no measures are required to be implemented that will preclude the use of the access point by vehicles other than authorised buses and emergency vehicles given the nature of the access has been designed to solely accommodate pedestrians/cyclists. The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 17 is fully discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Engineering Schematics Sheets 1-4 Ref: DWH155-003 Rev A, 004 Rev B, 005 Rev A & 006 Rev A

Condition 18 is partially discharged insofar that the submitted Bat Survey is considered to satisfy the requirements of the condition with no requirement for mitigation measures having been identified.

Condition 21 is partially discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Landscape proposals sheets 1-4 Ref: 15930 rev G and Playscape layout Ref: 15950 rev A The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 25 is partially discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Construction Environmental Management Plan (CEMP) Rev A Temporary site access arrangement Ref: H7839-TSAA Rev The condition requires that no phase or part of the development be commenced until all highways works to facilitate construction traffic access have been constructed in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 29 is partially discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Execution Plan Ref: H7869-EP-01 The condition requires that no phase or part of the development be commenced until all highways works to facilitate construction traffic access have been constructed in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 30 is partially discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Cycle Path & Footpath Route Plan Ref: H7839-CP/FP Rev A The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

Condition 31 is partially discharged insofar that the submitted details are considered to satisfy the requirements of the condition. The details considered acceptable are as follows: Framework Travel Plan Ref: J324133 Rev 2 The condition requires that the travel plan be implemented, audited and updated within the timescales set out in the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged.

pp NICOLA HOPKINS

DIRECTOR OF ECONOMIC DEVELOPMENT AND PLANNING

Mrs J Colquhoun

Barratt and David Wilson Homes North West

2nd Floor

303 Bridgewater Place

Birchwood Park

Warrington

WA3 6XF