| Report to be read in conjunction with the Decision Notice. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Application Ref: | 3/2019/0246 |  |  |  |
| Date Inspected: | ~ |  |  |  |
| Officer: | AB |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  | CONDITION DISCHARGE |
| Development Description: |  |  | Discharge of conditions 3 (walling and roofing materials), 4 (details of windows/doors), 7 (materials for cills and lintels), 10 (wheel washing facilities), 19 (land contamination survey), and 21 (construction method statement/management plan) from planning permission 3/2018/1179. |  |
| Site Address/Location: |  |  | Land off Ribblesdale View, Chatburn |  |
| CONSULTATIONS: |  |  | Parish/Town Council |  |
| N/A |  |  |  |  |
| CONSULTATIONS: |  |  | Additional Representations. |  |
| N/A |  |  |  |  |
| RELEVANT POLICIES: |  |  |  |  |
| Ribble Valley Core Strategy Policy DMG1 - Development Management Policy DMH5 – Residential and Curtilage Extensions National Planning Policy Framework |  |  |  |  |
| ASSESSMENT OF PROPOSED DISCHARGE OF CONDITION: |  |  |  |  |
| Application for the discharge of conditions 3 (walling and roofing materials), 4 (details of windows/doors), 7 (materials for cills and lintels), 10 (wheel washing facilities), 19 (land contamination survey), and 21 (construction method statement/management plan) from planning permission 3/2018/1179. |  |  |  |  |
| Condition 03: Precise specifications or samples of walling and roofing materials and details of any surface materials to be used including their colour and texture shall have been submitted to and approved by the Local Planning Authority before their use in the proposed works. Samples of natural stone, cut stone for window surrounds and slate have been provided and are considered to be acceptable. Condition 03 can be partially discharged insofar that the submitted details are agreed by the Local Planning Authority. There remains the requirement for the development to be implemented in accordance with the approved details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 04: All new and replacement windows and doors shall be constructed in timber, of which the elevational and section details shall have been submitted and agreed in writing by the Local Planning Authority prior to their use in the development. The development shall be carried out in strict accordance with the approved details; the approved details shall thereafter be retained in perpetuity. Drawing numbers 8050 and 8051 provide details of window/door openings. All window frames would be set back into the masonry by approximately 120mm. Condition 04 can be partially discharged insofar that the submitted details are agreed by the Local Planning Authority. There remains the requirement for the development to be implemented in accordance with the approved details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 07: All new window/door cills and lintels shall be natural stone and full details or samples of the materials to be used for the cills and lintels shall be submitted to and approved in writing by the Local Planning Authority before installation on site. The development shall be implemented in complete accordance with the approved details and retained as such thereafter. Cut stone samples for window surrounds have been provided and are considered to be acceptable. Condition 07 can be partially discharged insofar that the submitted details are agreed by the Local Planning Authority. There remains the requirement for the development to be implemented in accordance with the approved details. Upon the development having been completed in strict accordance with the approved plans/details this condition shall be considered fully discharged. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 10: For the full period of construction, facilities shall be available on site for the cleaning of the wheels of vehicles leaving the site and such equipment shall be used as necessary to prevent mud and stones being carried onto the highway. The roads adjacent to the site shall be mechanically swept as required during the full construction period. Condition 10 can be partially discharged. There remains the requirement for the roads adjacent to the site to be mechanically swept as required during the full construction period. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| Condition 19: Prior to the commencement of development, the following information shall be submitted to the Local Planning Authority (LPA) for approval in writing: (a) A Desk Study which assesses the risk of the potential for on-site contamination and ground gases and migration of both on and off-site contamination and ground gases. (b) If the Desk Study identifies potential contamination and ground gases, a detailed Site Investigation shall be carried out to address the nature, degree and distribution of contamination and ground gases and shall include an identification and assessment of the risk to receptors as defined under Part IIA of the Environmental Protection Act 1990, focusing primarily on risks to human health and controlled waters. The investigation shall address implications of the health and safety of site workers, of nearby occupied building structures, on services and landscaping schemes and on wider environmental receptors including ecological systems and property. The sampling and analytical strategy shall be submitted to and approved in writing by the LPA prior to the site investigation survey. (c) If the site investigation indicates remediation is necessary, a Remediation Statement detailing the recommendations and remedial measures to be implemented within the site shall be submitted to and approved in writing by the LPA. The remediation shall be carried out in accordance with the agreed statement and on completion of the development/remedial works, the developer shall submit a Verification Report to the LPA for approval in writing that certifies that all works were completed in accordance with the agreed Remediation Statement prior to the first occupation of the development. The Council’s engineer has advised that the submitted Ground Contamination Assessment is sufficient for the presumed level of risk at the site. As such condition 19 can be fully discharged. |  |  |  |  |
| Condition 21: No development approved by this permission shall commence until a Construction Method Statement/Management Plan has been submitted to and approved in writing by the Local Planning Authority. The approved Statement/Management Plan shall be adhered to throughout the construction period and shall provide for: i) the routeing of construction and delivery vehicles including periods when plant and materials trips should not be made to and from the site (mainly peak hours but the developer to identify times when trips of this nature should not be made) ii) parking of vehicles of site operatives and visitors within the site; iii) loading and unloading of plant and materials; iv) storage of plant and materials used in constructing the development; v) erection and maintenance of security hoarding including decorative displays and facilities for public viewing, where appropriate; vi) measures to ensure that construction and delivery vehicles do not impede access to adjoining properties; vii) a management plan to control the emission of dust and dirt during construction identifying suitable mitigation measures including measures to prevent pollution of habitats adjacent to development areas; viii) a scheme for recycling/disposing of waste resulting from construction works (there shall be no burning on site); ix) A scheme to control noise during the construction phase; x) details of lighting to be used during the construction period which should be directional and screened wherever possible; xi) Details of hours of working including delivery times for construction materials; xii) Pollution prevention measures to be adopted throughout the construction process to ensure watercourses on and adjacent to the works are adequately protected; and xiii) Contact details of the site manager. The applicant has submitted a Construction Management Plan and this is sufficient to partially discharge condition 21. There remains the requirement for the approved details to be adhered to throughout the construction period. Full discharge of this condition at this time would be premature given the development is not complete. |  |  |  |  |
| RECOMMENDATION: |  | Conditions 3, 4, 7, 10 and 21 can be partially discharged. Condition 19 can be fully discharged. |  |  |