| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | BT |  |  |  | Date: | 11/1/21 | Manager: |  |  |  | Date: |  |
| Site Notice displayed | N/A | Photos uploaded |  |  |  | Y |  |  |  |  |  |  |  |
| Application Ref: |  |  | 3/2020/1004 |  |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | 8/12/20 |  |  |  |  |  |  |  |  |  |  |
| Officer: |  |  | BT |  |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  | Decision |  | APPROVAL |  |  |
| Development Description: |  |  |  |  | Proposed single storey rear extension. |  |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | 8 Fairfield Close, Clitheroe. BB7 2PL. |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |  |
| Clitheroe Town Council do not have any objections to the proposal put forward. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Highways/Water Authority/Other Bodies |  |  |  |  |  |  |  |  |
| None. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |  |
| No representations have been received in respect of the application. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ribble Valley Core Strategy: Key Statement DS1 – Development Strategy Key Statement DS2 – Presumption in Favour of Sustainable Development Policy DMG1 – General Considerations Policy DMG2 – Strategic Considerations Policy DMH5 – Residential and Curtilage Extensions National Planning Policy Framework (NPPF) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Relevant Planning History: None. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Description and Surrounding Area: The proposal relates to a semi-detached property in Clitheroe. The property contains a lengthy rear garden where the existing rear extension currently stands. The surrounding area is primarily resdiential and is characterised by numerous semi-detached properties. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: Consent is sought for the erection of a single storey extension to the rear of the property for use as a utility room and living space. The proposal will involve the removal of the existing rear extensions in order to accommodate the new extension. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Amenity: The bi-folding doors on the North-west elevation of the extension will solely provide views into the rear garden of the primary dwelling. The South-west elevations of the extension will be screened from the bungalow properties at No. 72, 74 and 76 Lune Road by border fencing and bushes. The North-east elevation of the extension will largely be screened from the neighbouring property at No.6 Fairfield Close by a border fence and bushes. As such, the proposal will not pose any issues in relation to privacy through overlooking. As stated previously, the proposed extension will largely be screened from the neighbouring and adjacent properties by border fencing and bushes. Accordingly, both the proposal’s siting and size will ensure that there will be no adverse impacts upon existing natural light or outlook as a result of the development. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Visual Amenity: The proposal will be situated to the rear of the primary dwelling in an area that is largely out of site from public view in the same position currently taken up by the two existing adjoined single storey rear extension. As such, the visual impact of the proposal will be minimal. The extension will be subservient to the primary dwelling in terms of scale in as much that the proposal will be lower in height at both the eaves and roof pitch in comparison with those of the primary dwelling. Furthermore, the proposal will merge appropriately with the appearance of the primary dwelling through incorporating matching materials which include concrete roof tiles, white UPVC doors and windows and rendered walls and as such will have a visual enhancement. In light of the above observations, it is not considered that the proposal will have an oppressive or overbearing presence nor is it considered that it will have any negative impact upon the surrounding area’s visual amenity. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Landscape/Ecology: No ecological constraints were identified in the vicinity of the proposal. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: The proposed extension does not raise any concerns in relation to residential or visual amenity. More importantly, its design will create additional space within the property in addition to giving the rear of the property a more uniform appearance. It is for the above reasons and having regard to all material considerations and matters raised that the application is recommended for approval. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | That planning permission be granted. |  |  |  |  |  |  |  |  |  |