| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: |  |  |  |  | Date: |  | Manager: |  |  |  | Date: |  |
| Site Notice displayed |  | Photos uploaded |  |  |  |  |  |  |  |  |  |  |  |
| Application Ref: |  |  | 3/2021/0777 |  |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | 30/7/2021 |  |  |  |  |  |  |  |  |  |  |
| Officer: |  |  | AD |  |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  | Decision |  | Approval |  |  |
| Development Description: |  |  |  |  | Discharge of conditions from Listed Building Consent 3/2021/0155: part discharge of conditions 1 (start date), 2 (design statement), 3 (method statement), 5 (wall pointing).; full discharge of conditions 4 (roof cover materials), and 7 (roof timbers). |  |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Hodder Place Hodder Court Knowles Brow Hurst Green BB7 9PP |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES : |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Planning (Listed Buildings and Conservation Areas) Act 1990. ‘Preservation’ in the duty at section 16 of the Act means “doing no harm to” (South Lakeland DC v. Secretary of State for the Environment [1992]). Key Statement EN5 – Heritage Assets Policy DME4 – Protecting Heritage Assets Policy DMG1 – General Considerations National Planning Policy Framework (NPPF) National Planning Policy Guidance (NPPG) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Condition 1 (start date): The development must be begun not later than the expiration of three years beginning with the date of this permission. Reason: Required to be imposed pursuant to Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. This condition can be considered for discharge on the commencement of works. Condition 2 (design statement): The permission shall relate to the development as described in the submitted Design Statement: "the extent of the repair will be limited to what is reasonably necessary to make the walls and roof sound and capable of fulfilling their intended functions and is necessary to protect the historic fabric of the building". Reason: For the avoidance of doubt and to ensure that the development is carried out in accordance with the submitted plans. This is an informative condition which does not require discharge. Condition 3 (method statement): Precise specification of the removal of existing pointing in the form of a method statement shall have been submitted to and approved by the Local Planning Authority before the implementation of this element of the proposed works. Reason : In order to safeguard the special architectural and historic interest of the listed building. Contractor demonstrated use of Fein type saw on site – can be controlled (to avoid overrun of stone arrises) and appears preferable to use of chisels. Recommendation – discharge condition. Condition 4 (roof cover materials): Precise specifications and samples of new roof cover materials shall have been submitted to and approved by the Local Planning Authority before their use in the proposed works. Reason : In order to safeguard the special architectural and historic interest of the listed building. Metamorphic slate sample inspected on site (including fixing method) which is acceptable. Recommendation – discharge condition. Condition 5 (wall pointing): Notwithstanding the submitted information, precise specifications and samples in the form of a sample panel of wall pointing shall have been submitted to and approved by the Local Planning Authority before re-pointing. Reason : In order to safeguard the special architectural and historic interest of the listed building. Sample panel inspected on site (contractor identified source of aggregate) and appears acceptable. Recommendation – discharge condition. Condition 7 (roof timbers): Precise specifications of any proposed roof timber structure repair works shall have been submitted to and approved by the Local Planning Authority before their implementation in the proposed works. Reason: In order to safeguard the special architectural and historic interest of the listed building. Condition attached to allow for any works discovered once roof cover removed. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | Discharge of conditions 3, 4 and 5. |  |  |  |  |  |  |  |  |  |