| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | WH |  |  |  | Date: |  | 25/04/23 |  | Manager: |  | LH |  | Date: | 27/4/23 |
| Application Ref: |  |  | 2023/0292 |  |  |  |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | N/A |  |  |  | Site Notice: |  | N/A |  |  |  |  |  |  |
| Officer: |  |  | Will Hopcroft |  |  |  |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  |  |  | Decision |  | Prior Approval Not Required |  |  |
| Development Description: |  |  |  |  | Prior approval for a general purpose portal frame farm building |  |  |  |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Miles Hill, Moor Lane, Billington BB7 9JH |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Highways/Water Authority/Other Bodies |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) Order 2015 and (Amendment) Order 2018 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Relevant Planning History: None. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Description and Surrounding Area: The site is comprised of Miles Hill Farm, an agricultural complex incorporating a dwelling and various agricultural buildings associated with the use. The site is accessed off Moor Lane with the wider agricultural holding stretching further north-east and partially south-west – all to the south of Moor Lane. The closest neighbouring property is that of Moor End Head Farm, which sits approximately 230m west of the site. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: The application seeks Prior Approval for the erection of a general purpose portal frame farm building, approx. 18m in length, 17m in width, 4.9m in height to the eave and 7m to the ridge, constructed using grey concrete panels from floor level to 2m, then natural timber up to the eaves on 3 sides with a steel door on one opening. The roof will incorporate fibre cement sheets with occasional Perspex for natural lighting. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Whether or not permitted development The scheme must satisfy a number of criteria as set out under Class A of Part 6 of Schedule 2 of the Town and Country Planning (General Permitted Development) Order 2015 (as amended 2018). The first of those requirements is that the development must be ‘carried out on an agricultural unit of 5 hectares or more’ and be ‘reasonably necessary for the purposes of agriculture within that unit’. The agricultural holding is 10 hectares in area. The proposal is for an agricultural building to allow for sufficient space for storing straw and hay for winter feed, as well as machinery. The building will stop the machinery from rusting and allow them to be kept in a secure location. All internal space will be open to allow for the storage of bales and machinery. Accordingly, the proposed development is considered to be reasonably necessary for the purposes of agriculture in this instance. Having regard to criteria a) – k), development is not permitted by Class A if – (a) the development would be carried out on a separate parcel of land forming part of the unit which is less than 1 hectare in area; The development is being carried out on the main agricultural holding which is 10ha in area. (b) it would consist of the erection or extension of any agricultural building on an established agricultural unit (as defined in paragraph X of Part 3 of this Schedule) where development under Class Q or S of Part 3 (changes of use) of this Schedule has been carried out within a period of 10 years ending with the date on which development under Class A(a) begins; No development on this site has been carried out under Class Q or S of Part 3 of the Schedule. (c) it would consist of, or include, the erection, extension or alteration of a dwelling; The development does not include any works in relation to a dwelling. (d) it would involve the provision of a building, structure or works not designed for agricultural purposes; The building is clearly designed for agricultural purposes. (e) the ground area which would be covered by— (i) any works or structure (other than a fence) for accommodating livestock or any plant or machinery arising from engineering operations; or (ii) any building erected or extended or altered by virtue of Class A, would exceed 1000 square metres, calculated as described in paragraph D.1(2)(a) of this Part; The ground area does not exceed 1000sqm. (f) the height of any part of any building, structure or works within 3 kilometres of the perimeter of an aerodrome would exceed 3 metres; The site is not within 3km of the perimeter of an aerodrome. (g) the height of any part of any building, structure or works not within 3 kilometres of the perimeter of an aerodrome would exceed 12 metres; The height of the building does not exceed 12m. (h) any part of the development would be within 25 metres of a metalled part of a trunk road or classified road; No part of the development is within 25m of a trunk or classified road. (i) it would consist of, or include, the erection or construction of, or the carrying out of any works to, a building, structure or an excavation used or to be used for the accommodation of livestock or for the storage of slurry or sewage sludge where the building, structure or excavation is, or would be, within 400 metres of the curtilage of a protected building; The building is not to be used for the accommodation of livestock or for the storage of slurry or sewage sludge. (j) it would involve excavations or engineering operations on or over article 2(4) land which are connected with fish farming; or This criterion is not relevant to this application. (k) any building for storing fuel for or waste from a biomass boiler or an anaerobic digestion system— (i) would be used for storing waste not produced by that boiler or system or for storing fuel not produced on land within the unit; or (ii) is or would be within 400 metres of the curtilage of a protected building. This criterion is not relevant to this application. The proposal satisfies criteria a) – k) therefore is defined as permitted development. Whether or not prior approval is needed In accordance with condition A2 (2) (i) the Local Authority must determine whether prior approval is required as to the siting, design and external appearance of the proposal. Siting The proposed building is sited adjacent to a variety of other agricultural buildings, in a clearly agricultural context and is not considered to be particularly visually prominent or in a sensitive landscape. As such Prior Approval is not required in terms of siting. Design / appearance The proposed building is to utilise traditional agricultural materials and architectural features and is well suited and appropriate to its immediate context – that being a farm. As such Prior Approval is not required in terms of design and appearance. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: The proposal meets all of the criteria set out within Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) Order 2015; therefore, prior approval is not required. The siting and design would be acceptable for the reasons stated above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | Prior Approval Not Required. |  |  |  |  |  |  |  |  |  |  |  |