Ribble Valley Borough Council

Council offices

Church Walk

CLITHEROE

BB7 2RA

My reference: 3/2023/0812

Direct Dial: (01200) 425111

www.ribblevalley.gov.uk

Email: planning@ribblevalley.gov.uk

Date: 11 January 2024

Location: Old Row Whalley Road Barrow BB7 9AZ

Proposal: Approval of details reserved by conditions 5 (surface water drainage), 6 (construction drainage plan), 7 (surface water operation and maintenance manual), 10 (construction method statement), 13 (travel plan), 19 (pedestrian link), 20 (bird and bat boxes and hedgehog features) and 24 (external materials) of planning permission 3/2023/0153.

I write in response to your application to discharge the conditions pursuant to planning approval

Condition 05 is partially discharged insofar that the submitted details relating to the Surface Water Sustainable Drainage Strategy for phase 1 of the development (care home development including associated parking, access, landscaping and ground work) are considered acceptable and satisfy the requirements of the condition. For the avoidance of doubt the agreed details are as follows: 10-01 P3: Drainage Layout 10-02 P2: Impermeable Areas Plan 10-03 P2: Surface Water Manhole Schedule 10-04 P2: Foul Water Manhole Schedule 10-05 P2: Combined Water Manhole Schedule 10-06 P2: Manhole Details 10-07 P2: Manhole Details 10-08 P2: Hydrobrake Detail 10-09 P3: Flood Routing Plan P.T.O.

The condition can only be partially discharged at this stage insofar that the condition requires that the approved drainage strategy shall be implemented prior to occupation of the care home development and/or in accordance with the timing(s)/phasing arrangements embodied within the scheme and shall be retained thereafter for the lifetime of the development. For the avoidance of doubt a Surface Water Sustainable Drainage Strategy is required to be submitted for phase 2 of the development (the three dwellings) prior to that phase of the development commencing.

Condition 06 is partially discharged insofar that the submitted details relating to Construction Surface Water Management for phase 1 of the development (care home development including associated parking, access, landscaping and ground work) are considered appropriate and satisfy the requirements of the condition. For the avoidance of doubt the agreed details are as follows: Temporary Runoff Management (882667) Temporary Surface Water Run-off Plan: 10-11 Rev: P1 The condition can only be partially discharged at this stage insofar that the condition requires that the construction phase of the care home development be carried out in accordance with the agreed details. For the avoidance of doubt a Construction Surface Water Management plan is required to be submitted for phase 2 of the development (the three dwellings) prior to that phase of the development commencing.

Condition 07 is partially discharged insofar that the submitted Operation and Maintenance Manual (for the lifetime of the development) pertaining to the surface water drainage system is considered appropriate and satisfies the requirements of the condition. For the avoidance of doubt the agreed details are as follows: SUDS Management Strategy (September 2023) The condition can only be partially discharged at this stage insofar that the condition requires that the drainage system be retained, managed, and maintained in accordance with the approved details.

Condition 10 is partially discharged insofar that the submitted Construction Management Plan (LNT Construction October 2023) and Site Setup (P-B-10) are considered appropriate and satisfy the requirements of the condition. The condition can only be partially discharged at this stage insofar that the condition requires that the Construction Management Plan be adhered to throughout the construction of the development. P.T.O.

Condition 13 is partially discharged insofar that the submitted Transport Statement and Travel Plan (LNT February 2023) is considered appropriate and satisfies the requirements of the condition. The condition can only be partially discharged at this stage insofar that the condition requires that the approved Travel Plan be implemented, monitored and reviewed in accordance with the agreed Travel Plan Targets to the satisfaction of the Local Planning Authority.

Condition 19 is partially discharged insofar that the submitted details relating to the Pedestrian Link and Arboricultural Impact Assessment are considered appropriate and satisfy the requirements of the condition. For the avoidance of doubt the agreed details are as follows: Root Protection Path Detail: B-05.2 Arboricultural Impact Assessment (Brooks Ecological October 2023) Tree protection Plan: DR-6446-02 The condition can only be partially discharged at this stage insofar that the condition requires that prior to first use of the care home development, the pedestrian link shall be constructed in accordance with the approved details and built up to the east and south site boundaries. This pedestrian link shall thereafter be maintained and remain open and unobstructed at all times. The condition further requires that the agreed/approved tree protection measures and construction methodology be implemented/adhered to throughout the construction phase of the development.

Condition 20 is partially discharged insofar that the submitted details of the provisions for building dependent species of conservation concern, artificial bird nesting boxes and artificial bat roosting sites are considered appropriate and satisfy the requirements of the condition. For the avoidance of doubt the agreed details are as follows: Elevations C-01.1 (With Bat/Bird Box details) The condition can only be partially discharged at this stage insofar that the condition requires that the agreed provision be implemented prior to the building being first occupied/ brought into first use and thereafter retained. P.T.O.

Condition 24 is partially discharged insofar that the submitted details in relation to facing/surfacing/roofing materials of the care home development are considered appropriate to the character of the area and satisfy the requirements of the condition. For the avoidance of doubt the agreed details are as follows: Materials Schedule (LNT Construction) The condition can only be partially discharged at this stage insofar that the condition requires that the approved details be used in the development. For the avoidance of doubt details in relation to facing/surfacing/roofing materials for phase 2 of the development (the three dwellings) are required to be submitted prior to that phase of the development reaching ground level .

Nicola Hopkins

NICOLA HOPKINS

DIRECTOR OF ECONOMIC DEVELOPMENT AND PLANNING

Mr Samuel Finlay

LNT Construction Developments

1 Isabella Road

Garforth

Leeds

LS25 2DY