| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | KH |  |  |  | Date: | 29/04/24 | Manager: |  | LH | Date: | 29/4/24 |
| Application Ref: |  |  | 3/2024/0139 |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | n/a |  |  |  |  |  |  |  |  |  |
| Officer: |  |  | KH |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  | APPROVAL |  |  |  |
| Development Description: |  |  |  |  | Proposed 17.8m argon purging flue. |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Samlesbury Aerodrome BAE Systems Operations Ltd Myerscough Smithy Road Balderstone BB2 7LF |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |
| No comments received. |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |
| RVBC Environmental Health – No concerns due to this being an inert substance for a welding flue on the site. |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |
| DMG1 – General considerations DMB1- Supporting business growth and the local economy |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: The proposed development is for the erection of a 17.8m flue in galvanised steel and will protrude 2m above the existing pitched roofs. Existing equipment will be removed and a new fan box installed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: The siting of the flue would not be overly visible within the site and it would be sited within other flues and ducts of a similar height and appearance at the same location. Due to the existing industry nature of the site no concerns arise from the proposal. |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | That planning permission be granted. |  |  |  |  |  |  |  |  |