| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | KH |  |  | Date: | 03/05/24 | Manager: |  | LH | Date: | 3.5.24 |
| Application Ref: |  |  |  | 3/2024/0198 |  |  |  |  |  |  |  |
| Date Inspected: |  |  |  | 20/03/24 |  |  |  |  |  |  |  |
| Officer: |  |  |  | KH |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  | Prior Approval Granted |  |  |  |
| Development Description: |  |  |  |  | Prior approval under Class Q (a) and (b) for the proposed change of use of an agricultural building to one two-storey dwelling. |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Pinfold Farm Preston Road Ribchester PR3 3YD |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |
| No objections. |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Highways/Water Authority/Other Bodies |  |  |  |  |  |  |
| LCC Highways: |  |  |  |  |  |  |  |  |  |  |  |
| Had no objections subject to the imposition of conditions. |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |
| Developers should contact UU Developer Services team prior to commencing any works on site. The drainage plans should be in accordance with the drainage hierarchy outline in the NPPF/NPPG. |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |
| Schedule 2, Part 3, Class Q of the Town and Country Planning (General Permitted Development) Order 2015. |  |  |  |  |  |  |  |  |  |  |  |
| Relevant Planning History: 3/2022/1180: Demolition of an agricultural buildings (with class Q consent for residential) and erection of a new dwelling – Refused – Appeal Dismissed. 3/2021/1271: Proposed demolition of agricultural buildings, erection of a detached dwelling and garage. Refused. 3/2021/0096: Prior Notification: Proposed change of use from agricultural building to one dwelling and associated operational development. Refused. Appeal Allowed - APP/T2350/W/21/3274371. 3/2021/0083: Proposed demolition of concrete block and timber agricultural building under a box profile roof. Approved. 3/2020/0855: Proposed change of use from agricultural building to one dwelling and associated operational development. Refused. |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |
| Site Description and Surrounding Area: The application relates an agricultural building located off, and to the north-east of Preston Road, Ribchester. The application site is located outside of any defined settlement boundaries sited on land designated as open countryside. The area is largely agricultural in character, being of a relatively open aspect save that for sporadic cluster of built-form, the majority of which is residential in nature. |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: This application relates to the conversion of an agricultural building to one residential dwelling under the provisions of Schedule 2, Part 3, Class Q (a) and (b) of the Town and Country Planning (General Permitted Development) Order 2015. In the case of a change of use of agricultural buildings to dwellinghouses, the legislation requires the applicant to notify the Council of an intention to utilise permitted development rights through the process known as ‘prior approval’. |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: This application seeks prior approval under Class Q (a) and (b) of Schedule 2 Part 3. The subsequent parts of Class Q.1 have therefore been assessed as follows: Development is not permitted by Class Q if— (a) the site was not used solely for an agricultural use as part of an established agricultural unit— (i) on 20th March 2013, or (ii) in the case of a building which was in use before that date but was not in use on that date, when it was last in use, or (iii) in the case of a site which was brought into use after 20th March 2013, for a period of at least 10 years before the date development under Class Q begins; The supporting information submitted with the application states that the application site and agricultural buildings were last solely in agricultural use on March 2011. There is no evidence to suggest anything to the contrary and this requirement is therefore satisfied. (b) in the case of— (i) a larger dwellinghouse, within an established agricultural unit— (aa) the cumulative number of separate larger dwellinghouses developed under Class Q exceeds 3; or (bb) the cumulative floor space of the existing building or buildings changing use to a larger dwellinghouse or dwellinghouses under Class Q exceeds 465 square metres; (c) in the case of— (i) a smaller dwellinghouse, within an established agricultural unit— (aa) the cumulative number of separate smaller dwellinghouses developed under Class Q exceeds 5; or (bb) the floor space of any one separate smaller dwellinghouse having a use falling within Class C3 (dwellinghouses) of the Schedule to the Use Classes Order exceeds 100 square metres; The application is for one larger dwellinghouse. Larger dwellinghouses proposed to be developed under Class Q in order to be defined as such should have a floor space of more than 100 square metres but not exceed a cumulative floor space of 465 square metres. In addition, the cumulative number of separate larger dwellinghouses developed under Class Q cannot exceed 3. Smaller dwellinghouses proposed to be developed under Class Q in order to be defined as such should have a floor space of no more than 100 square metres. In addition, the cumulative number of separate smaller dwellinghouses developed under Class Q cannot exceed 5. The Order defines ‘floor space’ at paragraph 2 as ‘the total floor space in a building or buildings’. The Local Planning Authority determines the floor space of a building to be the ground, first and any other internal floor space within the proposed dwelling including basement levels. In this instance, the cumulative floor space of the proposed larger dwellinghouse, having a use within use class C3, would amount to 280sq.m. The number of separate larger dwellinghouses proposed would be 1, within the threshold limit. The cumulative number of separate smaller dwellinghouses proposed would not be relevant in this case. Accordingly, the proposal would meet all above criteria and the above requirements are therefore satisfied. (d) the development under Class Q (together with any previous development under Class Q) within an established agricultural unit would result in either or both of the following— (i) a larger dwellinghouse or larger dwellinghouses having more than 465 square metres of floor space having a use falling within Class C3 (dwellinghouses) of the Schedule to the Use Classes Order; (ii) the cumulative number of separate dwellinghouses having a use falling within Class C3 (dwellinghouses) of the Schedule to the Use Classes Order exceeding 5; The cumulative floor space of the proposed larger dwellinghouses would amount to 280sq.m., within the threshold limit. The cumulative number of separate dwellinghouses having a use falling within Class C3 would be 1, within the threshold limit. The planning history for the established agricultural unit has been checked and on the date of writing the LPA had no record of any other Class Q applications on the agricultural unit. (e) the site is occupied under an agricultural tenancy, unless the express consent of both the landlord and the tenant has been obtained; (f) less than 1 year before the date development begins— (i) an agricultural tenancy over the site has been terminated, and (ii) the termination was for the purpose of carrying out development under Class Q, unless both the landlord and the tenant have agreed in writing that the site is no longer required for agricultural use; The application’s supporting information states that the buildings and the area surrounding them are owned by the applicant and are not subject to any tenancy agreement. There is no evidence to contradict or disbelieve this and the requirements are therefore satisfied. (g) development under Class A(a) or Class B(a) of Part 6 of this Schedule (agricultural buildings and operations) has been carried out on the established agricultural unit— (i) since 20th March 2013; or (ii) where development under Class Q begins after 20th March 2023, during the period which is 10 years before the date development under Class Q begins; A planning history search has been undertaken for all of the land within the established agricultural unit and it is apparent that no applications under Part 6, Class A or B have been submitted to the LPA or approved by the LPA since the 20th March 2013. (h) the development would result in the external dimensions of the building extending beyond the external dimensions of the existing building at any given point; The submitted plans indicate that the building would not result in any alterations extending beyond the external dimensions of the existing building. (i) the development under Class Q(b) would consist of building operations other than— (i) the installation or replacement of— (aa) windows, doors, roofs, or exterior walls, or (bb) water, drainage, electricity, gas or other services, to the extent reasonably necessary for the building to function as a dwellinghouse; and (ii) partial demolition to the extent reasonably necessary to carry out building operations allowed by paragraph Q.1(i)(i); Planning Practice Guidance (Paragraph: 105 Reference ID: 13-105-20180615) as updated on 15th June 2018 advises: Paragraph 105 states that it is not the intention of the permitted development right to allow rebuilding work which would go beyond what is reasonably necessary for the conversion of the building to residential use, so that it is only where the existing building is already suitable for conversion to residential use that the building would be considered to have the permitted development right. This is derived from the basic principle that the PD right is for the conversion of the building to residential use, and not for its substantial reconstruction. The building to be converted comprises a steel portal frame design with blockwork and timber infills at the ground floor level which demarcate some of the bays within the buildings. The elevations of the buildings consist of blockwork and corrugated panels with the roof space of the buildings comprising a timber purlin framework layered with corrugated fibre cement panels. The existing buildings to be converted are open sided on their front North-western elevation with the front elevation of the adjoined buildings spanning approximately 50 metres in width. The proposed works would involve the infilling of the predominantly open front profile of the buildings with black painted timber walls punctuated with numerous door and window openings. The rear profile of the buildings would comprise an identical design. The submitted plans show the installation of windows and doors and replacement roof and wall cladding in order to achieve an acceptable habitable standard. This is identical to what was approved on appeal under 3/2021/0096. The structural report states that the building is in excellent condition and capable of conversion. As such, and in light of the previously allowed appeal, the scale of the works proposed and additional work that would likely be required, are considered to be reasonably necessary for the buildings to function as a residential unit. Accordingly, it is considered that the extent of building works proposed would not go significantly beyond what is ‘reasonably necessary’ to change the use of the building in question. (j) the site is on article 2(3) land; (a) an area designated as a conservation area under section 69 of the Planning (Listed Buildings and Conservation Areas) Act 1990 (designation of the conservation areas); (b) an area of outstanding natural beauty; (c) an area specified by the Secretary of State for the purposes of section 41 (3) of the Wildlife and Countryside Act 1981 (enhancement and protection of the natural beauty and amenity of the countryside); (d) the Broads; (e) a National Park; or (f) a World Heritage Site The agricultural buildings in question are located within an area of open countryside and are not included within any of the above designations. (k) the site is, or forms part of— (i) a site of special scientific interest; (ii) a safety hazard area; (iii) a military explosives storage area; The application site and buildings in question do not form part of any of the above. (l) the site is, or contains, a scheduled monument; or The application site does not contain a scheduled monument. (m) the building is a listed building. The agricultural buildings and their curtilage do not contain a listed building. |  |  |  |  |  |  |  |  |  |  |  |
| To satisfy the requirements of Class Q (a) and (b) the Local Planning Authority’s must consider whether approval is required in respect of the following conditions listed in Schedule 2 Part 3 Q2. (a) transport and highways impacts of the development The proposed development does not raise any concerns with respect to highway safety as previously assessed on previous applications. As such, the proposed development would not result in increased vehicle movements which would in turn be detrimental to highway safety. Therefore prior approval is not required in this respect. (b) noise impacts of the development In relation to this particular consideration, it is considered that the use of the building in question would not result in significant detrimental impact on neighbouring dwellings over and above that caused by an agricultural use. Therefore prior approval is not required in this respect. (c) contamination risks on the site The application’s supporting information states that there are no known contamination risks on site and that no excavations are expected to take place during the proposed conversion. Prior approval is required and approved on this matter subject to an appropriate condition. (d) flooding risks on the site With regards to the matter of flooding, the Environment Agency flood map shows the application site to be located within Flood Zone 1 and there are no known local flooding issues. Prior approval is required and approved on this matter subject to an appropriate condition. (e) whether the location or siting of the building makes it otherwise impractical or undesirable for the building to change from agricultural use to a use falling within Class C3 (dwellinghouses) of the Schedule to the Use Classes Order. The building to be converted is located within a small cluster of existing residential dwellings. The separation distances between the application building and the nearest neighbouring properties would be sufficient enough to allow adequate levels of privacy to be maintained between the existing and proposed dwellings. As such, the proposed dwellings would share an acceptable relationship with the existing dwellings in the area with respect to residential amenity. No information has been provided with respect to foul or surface water disposal however, it is not anticipated that conversion of the building to one dwelling would warrant any unnecessary expenditure by public authorities or utilities on the provision of additional infrastructure. Therefore prior approval is required and is acceptable on this matter. |  |  |  |  |  |  |  |  |  |  |  |
| Visual Amenity/External Appearance: (f) the design and external appearance of the building, and (g) the provision of adequate natural light in all habitable rooms of the dwellinghouses, and the provisions of paragraph W (prior approval) of this Part apply in relation to that application. Design and external appearance On farm buildings, windows and doors are commonly small and insignificant. Farm buildings are operational structures with a functional simplicity which is an essential part of their character. In order to protect the character and setting of the surrounding countryside any additional openings should be kept to a minimum to avoid a clearly domestic appearance. The proposed development of the buildings includes the installation of numerous large openings to both the front and rear elevations of the buildings only and narrow slot windows and smaller openings to both sides as well as numerous rooflights. This is identical to the scheme allowed on appeal under 3/2021/0096. Therefore prior approval is required and acceptable on this matter with regard to the previous approval. Provision of natural light The proposed plans submitted indicate that both the front and rear elevations of the buildings would comprise large window openings therefore it is anticipated that the proposed dwellings would receive adequate levels of natural light. Therefore prior approval is required and is acceptable on this matter. |  |  |  |  |  |  |  |  |  |  |  |
| Landscape/Ecology: The application has been accompanied by a Bat Survey which concludes that as the likelihood of bat roosting is minimal further surveys are not required and that subject to appropriate care the work can be carried out. |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: It is for the above reasons and having regard to all material considerations and matters raised that the application is recommended for approval subject to conditions. |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  | That prior approval be approved subject to appropriate conditions. |  |  |  |  |  |  |  |  |