Ribble Valley Borough Council

Council offices

Church Walk

CLITHEROE

BB7 2RA

My reference: 3/2024/0429

Direct Dial: (01200) 425111

www.ribblevalley.gov.uk

Email: planning@ribblevalley.gov.uk

Date: 17 July 2024

Location: Healings Farm, West Bradford Road, Waddington, BB7 3JE.

Proposal: Approval of details reserved by conditions 7 (ground levels and floor levels), 16 (demolition method statement) and 17 (surface water drainage strategy) from prior approval 3/2023/0992.

I write in response to your application to discharge the conditions pursuant to planning approval.

Condition 7 (Ground levels and floor levels) is partially discharged insofar that the submitted details are considered acceptable as follows: Proposed Levels - Sections Drawing No: DOC_07.1 revision 00 Proposed Levels - Site Plan Drawing No: DOC_07 revision 00 The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged. P.T.O.

Condition 16 (Demolition method statement) is partially discharged insofar that the submitted details are considered acceptable as follows: Demolition Management Plan Drawing No: DOC_16 revision 00 The condition requires that the development be carried out in accordance with the approved details. Upon the development having been completed in strict accordance with the approved details this condition shall be considered fully discharged. Having regard to Condition 17 (Surface water drainage strategy), the submitted details (in this instance a document detailing design principles for surface water drainage for the site and a surface water drainage site plan) indicate that surface water drainage for the site will be primarily managed by means of ground infiltration through the implementation of permeable surfaces and landscaping. Notwithstanding this, no evidence has been provided to demonstrate that any physical investigation of the site has been carried out (BRE Digest 365 Soakaway Tests) in order to confirm that surface water disposal by means of ground infiltration as proposed would be a viable option. Furthermore, an attenuation pond is proposed however no further details of this have been provided including connection points and discharge rates. As such, Condition 17 cannot be discharged until such confirmation (along with any additional details requested within the imposed condition) has been provided in accordance with the provisions of Paragraphs 167 and 169 of the NPPF and Policy DME6 of the Core Strategy.

Nicola Hopkins

NICOLA HOPKINS

DIRECTOR OF ECONOMIC DEVELOPMENT AND PLANNING

Mr Ashley Rostron

Healings Farm

West Bradford Road

Waddington

Clitheroe

BB7 3JE

Agent

Rural Solutions

Canalside House

Brewery Lane

Skipton

BD23 1DR