| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | KH |  |  |  | Date: | 25/03/25 | Manager: |  | LH | Date: | 26/3/25 |
| Application Ref: |  |  | 3/2024/1002 |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | 06/01/25 |  |  |  |  |  |  |  |  |  |
| Officer: |  |  | KH |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  | APPROVAL |  |  |  |
| Development Description: |  |  |  |  | Proposed new LEV stack, 18 metres from ground floor level, for new calibration machine in 2 shed. |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | 2 Shed, Samlesbury Aerodrome, BAE Systems, Myerscough Smithy Road, Balderstone BB2 7LF |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |
| No comments received. |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |
| EH does not raise an objection regarding the proposed development provided that the recommendations set out in both the noise impact assessment and odour assessment are adhered to and implemented. |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |
| Key Statement EC1 – Business and Employment Development Policy DMG1 – General considerations Policy DMB1 – Supporting Business Growth and the Local Economy Policy DME3 – Site and Species Protection and Conservation |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: The proposed development is for the installation of a new LEV stack 18m high and new calibration machine. This would be installed at the 2 shed within the BAE site, Samlesbury. |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: The siting of the stack would not be overly visible outside of the site and would consist of stainless steel duct The 18m high stack would extend 3m above the roof level adjacent to other similar equipment. A noise assessment and odour assessment were requested and have been submitted in support of the proposal. These have been assessed and are considered to be acceptable subject to appropriate conditions requiring the recommendations in both reports to be implemented and a verification report to be carried out once the stack has been commissioned and submitted for approval Due to the existing industrial nature of the site no additional concerns arise from the proposal. The development is exempt from having to adhere to the BNG legislation due to meeting the de-minimus exception. |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | That planning permission be granted subject to appropriate conditions. |  |  |  |  |  |  |  |  |