| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | LW |  |  |  | Date: |  | 20/03/25 |  | Manager: |  | KH | Date: | 21/03/25 |
| Application Ref: |  |  |  | 3/2024/1040 |  |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  |  | 13/02/25 |  |  | Site Notice: |  | 13/02/25 |  |  |  |  |  |
| Officer: |  |  |  | LW |  |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  |  |  | APPROVAL |  |  |  |
| Development Description: |  |  |  |  | Proposed demolition of existing conservatory and replacement with single storey extension to rear. |  |  |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Alston Lane Farm, Alston Lane, Longridge, PR3 3BN. |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |  |  |
| No comments received with respect to the proposed development. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Highways/Water Authority/Other Bodies |  |  |  |  |  |  |  |  |  |
| LCC Highways: |  |  |  |  | N/A |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |  |  |
| No representations received. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ribble Valley Core Strategy: Key Statement DS1: Development Strategy Key Statement DS2: Sustainable Development Policy DMG1: General Considerations Policy DMG2: Strategic Considerations National Planning Policy Framework (NPPF) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Relevant Planning History: 3/2024/0925: Certificate of Lawfulness for proposed demolition of conservatory and construction of single storey extension to rear (Withdrawn). 3/1996/0020: Erection of garage and utility room, alterations to rear elevation, change of roof pitch and additional window openings (Approved). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Description and Surrounding Area: The application relates to a detached two-storey dwellinghouse accessed off Alston Lane, Longridge. The property comprises sandstone to the external elevations, with limestone door and window surrounds and benefits from an existing two-storey rear extension, conservatory and integral garage. The site to which the proposal relates is located within the Open Countryside, approximately 1.6km south of the defined settlement area of Longridge and the property benefits from no other designations or constraints. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: Consent is sought for the demolition of the existing conservatory and construction of a single storey rear extension. The proposed extension would project 5.3m from the rear elevation of the main dwellinghouse with a width of 8.1m. A flat roof form would be incorporated with a lantern light, measuring a maximum of 3.2m in height. To the rear elevation a set of sliding doors would be featured, along with 1no. full length window to both the north-eastern and south-western side elevations. With respect to materiality, the proposed development would be finished in sandstone to match the existing property, along with timber/ aluminium doors. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Principle of Development: The proposal relates to a domestic extension to an established residential property and is therefore acceptable in principle subject to an assessment of the material planning considerations. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact Upon Residential Amenity: The proposed glazed sliding doors to the rear of the extension would provide views solely towards the private amenity space of the application property, while the glazed openings to the side elevations would not have a direct interface with any nearby residential receptors and would be adequately screened by the existing boundary treatment. As such, no new opportunities for direct overlooking or loss of privacy are anticipated as a result of the works proposed. The proposed extension itself would also be adequately distanced from neighbouring residential properties and therefore would not result in any undue impact by way of overshadowing, loss of outlook or daylight. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Visual Amenity/External Appearance: The proposed extension would not take a visually prominent position within the surrounding landscape being sited to the rear of the application property and therefore screened from public view. Notwithstanding this, the proposed development would replace an existing conservatory and would appear appropriate in size and scale in relation to the existing built form of the dwellinghouse. The external elevations of the extension would also be finished in sandstone to match that of the existing property. Accordingly, it is not considered that that the proposed development would result in any significant detrimental harm upon the existing visual amenities of the application property or wider locality, subject to the imposition of a condition requiring all material details to be submitted and approved in writing by the LPA prior to their use within the development. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Highways and Parking: Lancashire County Council Highways have not been consulted on the proposed development; however, the proposal would not result in an increase in the number of bedrooms at the site, nor would it involve any alterations to the existing site access or parking arrangements. As such, the proposal is considered acceptable with respect to highway safety and parking. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Landscape/Ecology: It is noted that 1no. tree in the rear garden area of the application property would be removed as part of the proposal. However, this tree is not considered to be of any significant aboricultural or amenity value and therefore its loss is considered acceptable in this particular instance. Notwithstanding this, a condition has been attached to accompanying decision notice requiring the incorporation of replacement planting in order to mitigate the loss. The development is exempt from having to achieve the mandatory Biodiversity Net Gain requirements as it is a householder application. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: As such, for the above reasons and having regard to all material considerations and matters raised that the application is recommended for approval. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  | That planning consent be granted subject to the imposition of conditions. |  |  |  |  |  |  |  |  |  |  |  |