| Report to be read in conjunction with the Decision Notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signed: | Officer: | EP |  |  |  | Date: |  | 20/02/2025 |  | Manager: |  | LH |  | Date: | 20.2.25 |
| Application Ref: |  |  | 3/2025/0062 |  |  |  |  |  |  |  |  |  |  |  |  |
| Date Inspected: |  |  | N/A |  |  |  | Site Notice: |  | N/A |  |  |  |  |  |  |
| Officer: |  |  | EP |  |  |  |  |  |  |  |  |  |  |  |  |
| DELEGATED ITEM FILE REPORT: |  |  |  |  |  |  |  |  |  |  | Decision |  | REFUSED |  |  |
| Development Description: |  |  |  |  | Proposed agricultural building for livestock (sheep housing) 18.43m long, 12.44m wide, 6.24m high to ridge, 4.2m high to eaves. |  |  |  |  |  |  |  |  |  |  |
| Site Address/Location: |  |  |  |  | Bramley Farm, Clerk Hill Road, Sabden BB7 9FQ. |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Parish/Town Council |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Highways/Water Authority/Other Bodies |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONSULTATIONS: |  |  |  |  | Additional Representations. |  |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RELEVANT POLICIES AND SITE PLANNING HISTORY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) Order 2015 and (Amendment) Order 2018 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Relevant Planning History: # No recent planning history. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASSESSMENT OF PROPOSED DEVELOPMENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Description and Surrounding Area: The application relates to an established farmstead accessed via Clerk Hill Road in Sabden. The surrounding area is typified of both agricultural and residential development with the application site also benefiting from a number of units of holiday accommodation. The application site is also within the designated National Landscape (formerly the AONB). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Development for which consent is sought: The application seeks consent for the construction of agricultural building for the purposes of sheep housing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Whether or not permitted development The scheme must satisfy a number of criteria as set out under Class A of Part 6 of Schedule 2 of the Town and Country Planning (General Permitted Development) Order 2015 (as amended 2018). The first of those requirements is that the development must be ‘carried out on an agricultural unit of 5 hectares or more’ and be ‘reasonably necessary for the purposes of agriculture within that unit’. The agricultural holding is 89 hectares in area. The proposal is for the construction of an agricultural building for the purpose of housing handling sheep. The applicant has stated that they own in excess of 1200 sheep and lambs. Accordingly, the proposed development is considered to be reasonably necessary for the purposes of agriculture in this instance. Having regard to criteria a) – k), development is not permitted by Class A if – (a) the development would be carried out on a separate parcel of land forming part of the unit which is less than 1 hectare in area; The development would be carried out on a parcel of and greater than 1 hectare in area. (b) it would consist of the erection or extension of any agricultural building on an established agricultural unit (as defined in paragraph X of Part 3 of this Schedule) where development under Class Q or S of Part 3 (changes of use) of this Schedule has been carried out within a period of 10 years ending with the date on which development under Class A(a) begins; No development under Class Q or S has been carried out in the last 10 years. (c) it would consist of, or include, the erection, extension or alteration of a dwelling; The proposal does not involve the alteration of a dwelling. (d) it would involve the provision of a building, structure or works not designed for agricultural purposes; The proposed building is for the purposes of housing and handling livestock and is therefore defined as reasonably necessary for the purpose of agriculture. (e) the ground area which would be covered by— (i) any works or structure (other than a fence) for accommodating livestock or any plant or machinery arising from engineering operations; or (ii) any building erected or extended or altered by virtue of Class A, would exceed 1000 square metres, calculated as described in paragraph D.1(2)(a) of this Part; The proposed building would measure less than 1000 square metres in area. (f) the height of any part of any building, structure or works within 3 kilometres of the perimeter of an aerodrome would exceed 3 metres; The proposed building is not within 3km of an aerodrome. (g) the height of any part of any building, structure or works not within 3 kilometres of the perimeter of an aerodrome would exceed 12 metres; The proposed building would measure 6.24m in height to the ridge. (h) any part of the development would be within 25 metres of a metalled part of a trunk road or classified road; The proposed development is not within 25 metres of a classified road. (i) it would consist of, or include, the erection or construction of, or the carrying out of any works to, a building, structure or an excavation used or to be used for the accommodation of livestock or for the storage of slurry or sewage sludge where the building, structure or excavation is, or would be, within 400 metres of the curtilage of a protected building; The proposed building is within 400 metres of a protected dwelling. There is allowance under the GPDO for the temporary housing of livestock during lambing or adverse weather conditions. However, as per the details submitted, the building is not designed for the temporary housing of livestock with its sole purpose being for the handing and housing of sheep. Therefore, the proposal does not comply. (j) it would involve excavations or engineering operations on or over article 2(4) land which are connected with fish farming; or The proposal does not consist of the above. (k) any building for storing fuel for or waste from a biomass boiler or an anaerobic digestion system— (i) would be used for storing waste not produced by that boiler or system or for storing fuel not produced on land within the unit; or (ii) is or would be within 400 metres of the curtilage of a protected building. The proposal does not consist of the above. The proposal does not satisfy all criteria a) – k) therefore is not defined as permitted development. Whether or not prior approval is needed In accordance with condition A2 (2) (i) the Local Authority must determine whether prior approval is required as to the siting, design and external appearance of the proposal. Despite the proposal not meeting the relevant criteria, this assessment has still been made below for completeness. Siting- The proposed building is located in close proximity to existing built form and other buildings within the farmstead. As a result, the development will integrate sufficiently into the farmstead without causing harm to the openness of the National Landscape. As such Prior approval is not required in terms of siting. Design / appearance – The proposed building is to be constructed using concrete panels, timber cladding and fibre cement sheet roof panels with one elevation being open sided. This is typical for a modern agricultural building and is considered appropriate for the proposed use. As such Prior approval is not required in terms of design and appearance. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observations/Consideration of Matters Raised/Conclusion: The proposal does not meet all of the criteria set out within Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) Order 2015; therefore, prior approval is required. The siting and design would be acceptable for the reasons stated above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RECOMMENDATION: |  |  |  | Prior Approval Required |  |  |  |  |  |  |  |  |  |  |  |